## PRICING SUMMARY
PROJECT | BROOKLYN SOCIETY FOR ETHICAL CULTURE | [5 empty] | REV(0)-BE-PR-20947
ADDRESS | 265 4TH AVENUE BROOKLYN, NY 11215
| DESCRIPTION |  | LABOR W/O O&P | MATERIAL W/O O&P | SUBCONTRACTOR W/O O&P | SUBTOTAL W/O O&P | TOTAL INCLUDING O&P
| General Requirements | [5 empty] | 44437.5
| Preparation of a Tenant Protection Plan |  | 2500 | 0 | 0 | 2500 | 2962.5
| Remaining General Requirements |  | 35000 | 0 | 0 | 35000 | 41475
| DEMOLITION | [5 empty] | 15948.0463
| Architectural Demolition |  | 13458.2669 | 0 | 0 | 13458.2669 | 15948.0463
| METAL | [5 empty] | 10187.9406
| Metal |  | 4327.0473 | 4270.3709 | 0 | 8597.4182 | 10187.9406
| WOOD & PLASTIC | [5 empty] | 50921.8056
| Cabinet |  | 1969.5528 | 3015.5693 | 0 | 4985.122 | 5907.3696
| Finish Carpentry + Millwork |  | 15580.6384 | 22406.2275 | 0 | 37986.8658 | 45014.436
| DOORS AND WINDOWS | [5 empty] | 31661.8316
| Stile & Rail Wood Door + Frame |  | 2903.9 | 3890.5109 | 0 | 6794.4109 | 8051.377
| Hollow Metal Doors + Frames |  | 4620.56 | 7881.7522 | 0 | 12502.3122 | 14815.24
| Flush Doors & Frames |  | 530.21 | 710.355 | 0 | 1240.565 | 1470.0695
| Finish Hardware |  | 1966.42 | 4215.137 | 0 | 6181.557 | 7325.145
| FINISHES | [5 empty] | 104620.0955
| Ceramic Tile |  | 20294.2124 | 19271.9164 | 0 | 39566.1288 | 46885.8626
| Gypsum Board Assemblies |  | 12204.3801 | 5243.7917 | 0 | 17448.1718 | 20676.0836
| Carpet |  | 466.9016 | 442.376 | 0 | 909.2776 | 1077.494
| Specialty Ceiling |  | 6393.849 | 9061.1889 | 0 | 15455.0379 | 18314.2199
| Wood Wainscoting |  | 1630.3782 | 1796.0316 | 0 | 3426.4098 | 4060.2956
| Vinyl Stair Treads |  | 179.8148 | 166.6269 | 0 | 346.4417 | 410.5334
| Painting |  | 8415.6494 | 2719.8834 | 0 | 11135.5328 | 13195.6064
| SPECIALTIES | [5 empty] | 12789.6576
| Green Moss Wall |  | 1231.56 | 3526.875 | 0 | 4758.435 | 5638.7455
| Signages |  | 1669.29 | 988.86 | 0 | 2658.15 | 3149.9077
| Toilet Accessories |  | 501.97 | 1235.24 | 0 | 1737.21 | 2058.5939
| Folding partitions |  | 730.147 | 909.018 | 0 | 1639.165 | 1942.4105
| EQUIPMENT | [5 empty] | 23796.3998
| Appliances |  | 3685.35 | 16396 | 0 | 20081.35 | 23796.3998
| FURNISHINGS | [5 empty] | 121129.8868
| Furniture |  | 19376.61 | 69019.45 | 0 | 88396.06 | 104749.3311
| White Boards |  | 1013.144 | 2344.7912 | 0 | 3357.9352 | 3979.1532
| Countertops |  | 3711.8598 | 6753.4588 | 0 | 10465.3186 | 12401.4025
| FIRE SUPRESSION | [5 empty] | 20170.6011
| Fire Supression |  | 11456.49 | 5565.1143 | 0 | 17021.6043 | 20170.6011
| PLUMBING | [5 empty] | 38033.804
| Plumbing |  | 16416.3566 | 15679.6805 | 0 | 32096.0371 | 38033.804
| HVAC | [5 empty] | 56696.1489
| HVAC |  | 26918.4678 | 20926.3836 | 0 | 47844.8514 | 56696.1489
| ELECTRICAL | [5 empty] | 66312.1002
| Electrical |  | 36257.4578 | 19702.1204 | 0 | 55959.5782 | 66312.1002
Unit Price
| Subtotal |  | 255410.4838 | 248138.7296 | 0 | 503549.2134 | 596705.8179
| Overhead and profit | 18.5% |  |  |  | 93156.6045
| TOTAL BASE BID (INCL. OVERHEAD AND PROFIT) |  |  |  |  | 596705.8179 | 596705.8179
See next tab for detailed take-offs.
Terms and Conditions/Disclaimer: The quantities, numbers, scope, or any other information contained in this document has been complied to the best of our knowledge. By utilizing or deriving any of the information contained in this document, you accept the information, quantities and costs as accurate and waive to any claims for errors in information. Bidding Enterprise LLC does not warranty any of the information contained in this document. The information contained in this document are for informational purpose only and to be used as a guideline for quantities and pricing. It is the responsibility of the contractor performing the work to review quantities and bid documents and finalize pricing and materials based on current prices.

## DETAILED ESTIMATE
PROJECT |  | BROOKLYN SOCIETY FOR ETHICAL CULTURE | [14 empty] | REV(0)-BE-PR-20947
ADDRESS |  | 265 4TH AVENUE BROOKLYN, NY 11215
Date of submission |  | 2025-10-30
Date of plans |  | 2024-11-22 | [5 empty] | Please confirm inclusion in scope
TOTAL BASE BID |  | 596705.8179 | [5 empty] | Please confirm/add price
SR # | DWG. NO. | DETAIL NO. | CSI NO. | DESCRIPTION | QTY. | WASTE | QTY. W/ WASTE | UNIT | LABOR/EQUIP. COST | MATERIAL COST | SUBCONTRACTOR | TOTAL LABOR | TOTAL MATERIAL | TOTAL SUB | TOTAL UNIT COST | TOTAL COST | SUBTOTALS
|  |  | DIVISION- 1 | GENERAL REQUIREMENTS
PREPRATION OF A TENANT PROTECTION PLAN
1 |  |  |  | Preparation of a Tenant Protection Plan | 1 | 0% | 1 | LS | 2500 |  | 0 | 2500 | 0 | 0 | 2500 | 2500
|  |  |  | Preparation of a Tenant Protection Plan Sub Total | [7 empty] | 2500 | 0 | 0 |  |  | 2500
REMAINING GENERAL REQUIREMENTS
2 |  |  |  | General Requirements - Mobilization / Demobilization - Temporary facilities - Project Management & Supervision - Permit & Fees - Daily & Final Clean up - Close out procedures - Safety Measures - Insurance | 1 | 0% | 1 | LS | 35000 |  | 0 | 35000 | 0 | 0 | 35000 | 35000
|  |  |  | Remaining General Requirements Sub Total | [7 empty] | 35000 | 0 | 0 |  |  | 35000
|  |  | DIVISION- 2 | DEMOLITION OF EXISTING ITEMS
DEMOLITION
ARCHITECTURAL DEMOLITION
3 | DM-100/DM-101 |  |  | Remove Grab Bars | 2 | 0% | 2 | EA | 33.42 | 0 | 0 | 66.84 | 0 | 0 | 33.42 | 66.84
4 | DM-100/DM-101 |  |  | Remove Railings | 25 | 0% | 25 | LF | 29.7 | 0 | 0 | 742.5 | 0 | 0 | 29.7 | 742.5
5 | DM-100/DM-101 |  |  | Remove Door | 1 | 0% | 1 | EA | 237.6 | 0 | 0 | 237.6 | 0 | 0 | 237.6 | 237.6
6 | DM-100/DM-101 |  |  | Remove existing Gypsum Board Notch surrounding Column | 13.87 | 0% | 13.87 | LF | 2.38 | 0 | 0 | 33.0106 | 0 | 0 | 2.38 | 33.0106
7 | SP-100 |  |  | Remove Existing Fire Sprinkler Piping | 109.59 | 0% | 109.59 | LF | 9.29 | 0 | 0 | 1018.0911 | 0 | 0 | 9.29 | 1018.0911
8 | SP-100 |  |  | Remove Existing Sprinkler Heads | 22 | 0% | 22 | EA | 35.64 | 0 | 0 | 784.08 | 0 | 0 | 35.64 | 784.08
9 | M-100 |  |  | Disconnect Existing Refrigerant Piping | 1 | 0% | 1 | EA | 81.68 | 0 | 0 | 81.68 | 0 | 0 | 81.68 | 81.68
10 | M-100 |  |  | Existing Diffusers To be Detached to Extend Duct | 4 | 0% | 4 | EA | 92.82 | 0 | 0 | 371.28 | 0 | 0 | 92.82 | 371.28
11 | M-100 |  |  | Relocate Existing AC Unit | 1 | 0% | 1 | EA | 400.95 | 0 | 0 | 400.95 | 0 | 0 | 400.95 | 400.95
12 | M-100 |  |  | Relocate Existing Outside Air Fan | 1 | 0% | 1 | EA | 278.44 | 0 | 0 | 278.44 | 0 | 0 | 278.44 | 278.44
13 | M-100 |  |  | Remove Existing Ductwork | 171.58 | 0% | 171.58 | LF | 11.44 | 0 | 0 | 1962.8752 | 0 | 0 | 11.44 | 1962.8752
14 | M-100 |  |  | Remove Existing Equipment | 19 | 0% | 19 | EA | 271.02 | 0 | 0 | 5149.38 | 0 | 0 | 271.02 | 5149.38
15 | E-D100 |  |  | Disconnect & Remove Existing Receptacle. Coil Back Circuiting To Ceiling For Extension To New Receptacle | 2 | 0% | 2 | EA | 68.31 | 0 | 0 | 136.62 | 0 | 0 | 68.31 | 136.62
16 | E-D100 |  |  | Disconnect & Remove Existing Receptacle. Cut Back Circuiting To Nearest Junction Box | 4 | 0% | 4 | EA | 68.31 | 0 | 0 | 273.24 | 0 | 0 | 68.31 | 273.24
17 | E-100 |  |  | Disconnect Electrical Connection From Mechanical Equipment | 3 | 0% | 3 | EA | 81.68 | 0 | 0 | 245.04 | 0 | 0 | 81.68 | 245.04
18 | E-D101 |  |  | Remove All Controls W/ Associated Wiring & Conduit Back To Source Of Power | 5 | 0% | 5 | EA | 129.94 | 0 | 0 | 649.7 | 0 | 0 | 129.94 | 649.7
19 | E-200 |  |  | Remove Existing Switch | 1 | 0% | 1 | EA | 46.78 | 0 | 0 | 46.78 | 0 | 0 | 46.78 | 46.78
20 | E-D101 |  |  | Remove Lighting Fixtures W/ Associated Wiring & Conduits Back To Source Of Power | 12 | 0% | 12 | EA | 81.68 | 0 | 0 | 980.16 | 0 | 0 | 81.68 | 980.16
|  |  |  | Demolition Sub total | [7 empty] | 13458.2669 | 0 | 0 |  |  | 13458.2669
|  |  | DIVISION- 5 | METALS
STAIRS & RAILING
21 | A101/A102 |  |  | New 9"x3'-7 1/2" Stair Tread | 14 | 0% | 14 | EA | 130.62 | 163.1 | 0 | 1828.68 | 2283.4 | 0 | 293.72 | 4112.08
22 | A102 |  |  | New 3'0" High, Metal Handrails | 25.3 | 10% | 27.83 | LF | 51.32 | 51.4 | 0 | 1428.2356 | 1430.462 | 0 | 102.72 | 2858.6976
WALL HEADERS
23 | A101/A102 |  |  | Steel Box Headers | 31.97 | 10% | 35.167 | LF | 7.1 | 6.76 | 0 | 249.6857 | 237.7289 | 0 | 13.86 | 487.4146
KIING & JACK STUDS
24 | A101/A102 |  |  | 3 5/8" Metal King Studs (8'-0" High) | 8 | 10% | 8.8 | EA | 26.88 | 11.04 | 0 | 236.544 | 97.152 | 0 | 37.92 | 333.696
25 | A101/A102 |  |  | 3 5/8" Metal King Studs (10'-0" High) | 6 | 10% | 6.6 | EA | 33.59 | 11.04 | 0 | 221.694 | 72.864 | 0 | 44.63 | 294.558
26 | A101/A102 |  |  | 3 5/8" Metal Jack Studs (7'-0" High) | 14 | 10% | 15.4 | EA | 23.52 | 9.66 | 0 | 362.208 | 148.764 | 0 | 33.18 | 510.972
|  |  |  | Metal Sub total | [7 empty] | 4327.0473 | 4270.3709 | 0 |  |  | 8597.4182
|  |  | DIVISION- 6 | WOOD & PLASTIC
CABINETS
UPPER CABINETS
27 | A402 | 9-5/A701 |  | 1'-3" Deep X 3"-3" High, Upper Cabinet | 2.66 | 10% | 2.926 | LF | 89.32 | 136.75 | 0 | 261.3503 | 400.1305 | 0 | 226.07 | 661.4808
BASE CABINETS
28 | A402 | 3/A701 |  | 2'-0" Deep X 2'-7" High, Base Cabinet | 2.68 | 10% | 2.948 | LF | 92.28 | 141.29 | 0 | 272.0414 | 416.5229 | 0 | 233.57 | 688.5644
29 | A702 | 1-2/A702 |  | 2'-6" Deep X 3'-0" High, Base Cabinet | 3.22 | 10% | 3.542 | LF | 101.65 | 155.64 | 0 | 360.0443 | 551.2769 | 0 | 257.29 | 911.3212
30 | A701 | 6-7/A701 |  | 2'-0" Deep X 3'-0" High, Base Cabinet W/- Oak Veneer Core Plywood | 5.62 | 10% | 6.182 | LF | 97.01 | 148.53 | 0 | 599.7158 | 918.2125 | 0 | 245.54 | 1517.9283
31 |  |  |  | 1'-3" Deep X 5'-5" High, Cabinet | 2.65 | 10% | 2.915 | LF | 106.55 | 163.14 | 0 | 310.5933 | 475.5531 | 0 | 269.69 | 786.1463
32 | A102 | 2/A402 |  | 1'-6" Deep Base Cabinet | 1.67 | 10% | 1.837 | LF | 90.26 | 138.2 | 0 | 165.8076 | 253.8734 | 0 | 228.46 | 419.681
|  |  |  | Cabinets Sub total | [7 empty] | 1969.5528 | 3015.5693 | 0 |  |  | 4985.122
FINISH CARPENTRY + MILLWORK
Finish Carpentry
33 | A102 |  |  | White Oak Wood Wainscot | 396.3 | 10% | 435.93 | SF | 3.74 | 4.12 | 0 | 1630.3782 | 1796.0316 | 0 | 7.86 | 3426.4098
Millwork
34 | A701 | 6-7/8/A701 |  | 2'-0" Deep X 4'-0" High Adjustable Shelf W/- Integrated Under Cabinet Lighting Strip | 8.6 | 10% | 9.46 | LF | 59.67 | 91.35 | 0 | 564.4782 | 864.171 | 0 | 151.02 | 1428.6492
35 | A702 | 1-2/A702 |  | 2'-3" Deep X 1'-10" Fixed Brass Open Shelves W/- Integrated Under Cabinet Lighting Strip | 3.22 | 0% | 3.22 | LF | 63 | 95.14 | 0 | 202.86 | 306.3508 | 0 | 158.14 | 509.2108
36 | A702 | 1-5/A702 |  | 2'-0" Deep X 3'-0" High Shelf On Drawer Slidesbase Cabinet | 3.1 | 10% | 3.41 | LF | 101.65 | 155.64 | 0 | 346.6265 | 530.7324 | 0 | 257.29 | 877.3589
37 | A-102 | 1/2/703 |  | 1'-4" Deep X 3'-6" High Built-In Filing Cabinet In Oak Wood Veneer | 6.26 | 10% | 6.886 | LF | 88.76 | 135.9 | 0 | 611.2014 | 935.8074 | 0 | 224.66 | 1547.0088
38 | A402 | 6-5/A703 |  | 2'-6" X 7'-0" Library Table Storage Buil-Iin, Painted Wood Cabinbet Doors, Heavy Duty Cabinet Door Stop With Piston Rod Fro Secure Support. | 15.51 | 10% | 17.061 | LF | 136.5 | 209 | 0 | 2328.8265 | 3565.749 | 0 | 345.5 | 5894.5755
39 | A701 | 6-8/A701 |  | 2'-0" Deep X 3'-0" High, Shelf On Drawer Slides | 2.98 | 10% | 3.278 | LF | 73.35 | 112.3 | 0 | 240.4413 | 368.1194 | 0 | 185.65 | 608.5607
40 | A702 | 1-2/702 |  | 2'-4" Deep X 2'-2" High Adjustable Shelf | 3.22 | 10% | 3.542 | LF | 63.52 | 97.25 | 0 | 224.9878 | 344.4595 | 0 | 160.77 | 569.4473
41 | A702 | 1-5/6/A702 |  | 1'-10" Deep X 4'-0" High Adjustable Shelf | 5.14 | 0% | 5.14 | LF | 56.37 | 86.3 | 0 | 289.7418 | 443.582 | 0 | 142.67 | 733.3238
42 | A702 | 1-4/6/A702 |  | 2'-0" Deep X 3'-0" High Shelf On Darwer Slides | 5.15 | 10% | 5.665 | LF | 73.35 | 112.3 | 0 | 415.5278 | 636.1795 | 0 | 185.65 | 1051.7073
43 | A402 | 5-6-/6/7/8/9/A703 |  | 1'-6" Deep X 5'-8" High, Built-In Bookshelf | 23.74 | 0% | 23.74 | LF | 50.39 | 77.14 | 0 | 1196.2586 | 1831.3036 | 0 | 127.53 | 3027.5622
44 | A101 | 1/A701 |  | 2'-0" Deep X 5'-6" High, Adjustable Shelves | 24.45 | 10% | 26.895 | LF | 84.61 | 129.54 | 0 | 2275.586 | 3483.9783 | 0 | 214.15 | 5759.5643
45 | A102 | 1/A702 |  | 2'-6" Deep X 5'-6" High, Adjustable Shelves | 14.76 | 10% | 16.236 | LF | 89.91 | 137.66 | 0 | 1459.7788 | 2235.0478 | 0 | 227.57 | 3694.8265
46 | A702 | 1-3/A702 |  | 2'-5" Deep X 3"-0" High, Microwave Drawer Opening | 3.73 | 10% | 4.103 | LF | 86.37 | 132.24 | 0 | 354.3761 | 542.5807 | 0 | 218.61 | 896.9568
47 | A102 | 3/A703 |  | 2'-0" Deep X 1'-6" High Built-In White Oak Venner Bench | 4.88 | 10% | 5.368 | LF | 77.2 | 118.2 | 0 | 414.4096 | 634.4976 | 0 | 195.4 | 1048.9072
48 | A702 | 1-4/7/8/A702 |  | 1'-0" Deep X 6'-10" High Wall Mounted Fixed Shelves | 8.92 | 10% | 9.812 | LF | 71.13 | 108.9 | 0 | 697.9276 | 1068.5268 | 0 | 180.03 | 1766.4544
49 | A702 | 1-8/A702 |  | 1'-4" Deep X 1'-6" High Built-In White Oak Veneer Bench | 1.95 | 10% | 2.145 | LF | 55.52 | 85 | 0 | 119.0904 | 182.325 | 0 | 140.52 | 301.4154
50 | A101 | 2/A701 |  | 2'-6" Deep X 2'-7" High, New Built-In Work Bench | 6.27 | 0% | 6.27 | LF | 122.92 | 188.21 | 0 | 770.7084 | 1180.0767 | 0 | 311.13 | 1950.7851
51 | A402 | 9-4/A701 |  | 2'-0" Deep Plywood Substrate For Laminate Surface | 7.09 | 10% | 7.799 | LF | 66.62 | 102 | 0 | 519.5694 | 795.498 | 0 | 168.62 | 1315.0674
52 | A101 | 2/A701 |  | Solid Wood Edge With 1/4" Radius | 39.35 | 10% | 43.285 | LF | 5.39 | 8.24 | 0 | 233.3062 | 356.6684 | 0 | 13.63 | 589.9746
53 | A101 |  |  | Bracket Support | 3 | 0% | 3 | EA | 32.66 | 16.89 | 0 | 97.98 | 50.67 | 0 | 49.55 | 148.65
54 | A701 |  |  | Grommet | 1 | 0% | 1 | EA | 26.13 | 13.68 | 0 | 26.13 | 13.68 | 0 | 39.81 | 39.81
55 | A102 |  |  | 2 x 4 Wood Blocking | 138 | 10% | 151.8 | LF | 3.36 | 1.44 | 0 | 510.048 | 218.592 | 0 | 4.8 | 728.64
56 | A101 |  |  | 2 x 4 Wood Blocking For Wall Mounted Accessories | 15 | 0% | 15 | LF | 3.36 | 1.44 | 0 | 50.4 | 21.6 | 0 | 4.8 | 72
|  |  |  | Finish Carpentry + Millwork Sub total | [7 empty] | 15580.6384 | 22406.2275 | 0 |  |  | 37986.8658
|  |  | DIVISION- 8 | DOORS AND WINDOWS
SOLID SWING WOOD DOORS + FRAMES
57 | A102 | Door Schedule |  | 101, 3'-0" x 6'-8" Soild Swing Wood Door with Vision Panel and Side Light, Frame: Wood, Finish: Oak | 1 | 0% | 1 | EA | 575.02 | 770.385 | 0 | 575.02 | 770.385 | 0 | 1345.405 | 1345.405
58 | A102 | Door Schedule |  | 102, 3'-0" x 6'-8" Soild Swing Wood Door with Vision Panel and Side Light, Frame: Wood, Finish: Oak | 1 | 0% | 1 | EA | 575.02 | 770.385 | 0 | 575.02 | 770.385 | 0 | 1345.405 | 1345.405
59 | A102 | Door Schedule |  | 104, 3'-8" x 6'-8" Soild Swing Wood Door with Vision Panel and Side Light, Frame: Wood, Finish: Oak | 1 | 0% | 1 | EA | 575.02 | 770.385 | 0 | 575.02 | 770.385 | 0 | 1345.405 | 1345.405
60 | A102 | Door Schedule |  | 105, 3'-8" x 6'-8" Soild Swing Wood Door, Frame: Wood | 1 | 0% | 1 | EA | 648.63 | 869.0009 | 0 | 648.63 | 869.0009 | 0 | 1517.6309 | 1517.6309
61 | A102 | Door Schedule |  | 106, 3'-0" x 6'-8" Flush Pocket Door Veener Door, Frame: Wood, Finish: Oak | 1 | 0% | 1 | EA | 530.21 | 710.355 | 0 | 530.21 | 710.355 | 0 | 1240.565 | 1240.565
|  |  |  | SOLID SWING Wood Door + Frames Sub total | [7 empty] | 2903.9 | 3890.5109 | 0 |  |  | 6794.4109
HOLLOW METAL DOORS + FRAMES
62 | A101 | Door Schedule |  | C02, 2'-10" x 6'-8" Hollow Metal Double Door, Frame: Metal | 1 | 0% | 1 | EA | 946.79 | 1691.2986 | 0 | 946.79 | 1691.2986 | 0 | 2638.0886 | 2638.0886
63 | A101 | Door Schedule |  | C03, 2'-10" x 6'-8" Hollow Metal Double Door, Frame: Metal | 1 | 0% | 1 | EA | 946.79 | 1691.2986 | 0 | 946.79 | 1691.2986 | 0 | 2638.0886 | 2638.0886
64 | A101 | Door Schedule |  | C04, 2'-10" x 6'-8" Hollow Metal Double Door, Frame: Metal | 1 | 0% | 1 | EA | 946.79 | 1691.2986 | 0 | 946.79 | 1691.2986 | 0 | 2638.0886 | 2638.0886
65 | A101 | Door Schedule |  | C05, 2'-10" x 6'-8" Hollow Metal Double Door, Frame: Metal | 1 | 0% | 1 | EA | 946.79 | 1691.2986 | 0 | 946.79 | 1691.2986 | 0 | 2638.0886 | 2638.0886
66 | A101 | Door Schedule |  | C01, 3'-0" x 6'-8" Metal Door, Frame: Metal | 1 | 0% | 1 | EA | 833.4 | 1116.558 | 0 | 833.4 | 1116.558 | 0 | 1949.958 | 1949.958
|  |  |  | Hollow Metal Doors + Frames Sub total | [7 empty] | 4620.56 | 7881.7522 | 0 |  |  | 12502.3122
FLUSH DOORS AND FRAMES
67 | A102 | Door Schedule |  | 103, 3'-0" x 6'-8" Swing Wood Veener Flush Door, Frame: Wood, Finish: Oak | 1 | 0% | 1 | EA | 530.21 | 710.355 | 0 | 530.21 | 710.355 | 0 | 1240.565 | 1240.565
|  |  |  | Flush Doors & Frames Sub total | [7 empty] | 530.21 | 710.355 | 0 |  |  | 1240.565
FIISH HARDWARE
68 | A901 | Hardware Schedule |  | Hardware Set-1: - 4.5x4.5 Hinge (3 EA) - Office w/s/m retract (1 EA) - FSIC Core (1 EA) - Surface Closer (1 EA) - Wall Stop (1 EA) - Silencer (3 EA) | 4 | 0% | 4 | EA | 205.18 | 439.82 | 0 | 820.72 | 1759.28 | 0 | 645 | 2580
69 | A901 | Hardware Schedule |  | Hardware Set-2: - 4.5x4.5 Hinge (3 EA) - Storeroom Lock (1 EA) - FSIC Core (1 EA) - Silencer (3 EA) | 4 | 0% | 4 | EA | 143.77 | 308.1745 | 0 | 575.08 | 1232.698 | 0 | 451.9445 | 1807.778
70 | A901 | Hardware Schedule |  | Hardware Set-3: - 4.5x4.5 Hinge (3 EA) - Privacy Lock w/ Outside Indicator (1 EA) - Surface Closer (1 EA) - Wall Stop (1 EA) - Silencer (3 EA) | 2 | 0% | 2 | EA | 202.08 | 433.1745 | 0 | 404.16 | 866.349 | 0 | 635.2545 | 1270.509
71 | A901 | Hardware Schedule |  | Hardware Set-4: - Rectangle Pull (1 EA) - Edge Pull (1 EA) - Latches (1 EA) - Pocket Door (1 EA) | 1 | 0% | 1 | EA | 166.46 | 356.81 | 0 | 166.46 | 356.81 | 0 | 523.27 | 523.27
|  |  |  | Finish Hardware Sub total | [7 empty] | 1966.42 | 4215.137 | 0 |  |  | 6181.557
|  |  | DIVISION- 9 | FINISHES
CERAMIC TILE
Floor Tiling
72 | A-101 | Finish Schedule/A001 |  | Ceramic Quarry Floor Tile Size: 6x6 Color: Raven Gray | 424.8 | 10% | 467.28 | SF | 7 | 8.16 | 0 | 3270.96 | 3813.0048 | 0 | 15.16 | 7083.9648
73 | A-102 | Finish Schedule/A001 |  | Wood Matt Porcelain Tile Flooring Size: 8x8x48 Color: Tile Bar Oak Natural Ash Beige | 723.4 | 10% | 795.74 | SF | 7 | 5.79 | 0 | 5570.18 | 4607.3346 | 0 | 12.79 | 10177.5146
74 | A-102 | Finish Schedule/A001 |  | Nemo Tile Dash Pine Flooring Size: 6x6 | 371.4 | 10% | 408.54 | SF | 7 | 6.36 | 0 | 2859.78 | 2598.3144 | 0 | 13.36 | 5458.0944
75 | A-102 | Finish Schedule/A001 |  | 18" X 18" Tile Flooring | 165 | 10% | 181.5 | SF | 7 | 8.69 | 0 | 1270.5 | 1577.235 | 0 | 15.69 | 2847.735
WALL TILE
76 | A-102 | Finish Schedule/A001 |  | Nemo Tile Dash Solid State Size: 6" X 6" | 736.3 | 10% | 809.93 | SF | 7 | 6.36 | 0 | 5669.51 | 5151.1548 | 0 | 13.36 | 10820.6648
TILE WALL BASE
77 | A-101 | Finish Schedule/A001 |  | Ceramic Quarry Tile Cove Base Size: 6x6 Color: Raven Gray | 131 | 10% | 144.1 | LF | 3.92 | 3.26 | 0 | 564.872 | 469.766 | 0 | 7.18 | 1034.638
78 | A-101 | Finish Schedule/A001 |  | Nemo Tile Base | 78.7 | 10% | 86.57 | LF | 3.92 | 2.84 | 0 | 339.3544 | 245.8588 | 0 | 6.76 | 585.2132
TILE TRANSITION
79 | A-102 |  |  | Transition Nemo Tile- TO-Tile Flooring | 60 | 10% | 66 | LF | 4.48 | 4.84 | 0 | 295.68 | 319.44 | 0 | 9.32 | 615.12
80 | A-102 |  |  | Transition Nemo Tile-TO-Wood Mate Tile | 85 | 10% | 93.5 | LF | 4.48 | 4.84 | 0 | 418.88 | 452.54 | 0 | 9.32 | 871.42
81 | A-102 |  |  | Transition Wood Mate Tile-TO-Carpet Tile | 7 | 10% | 7.7 | LF | 4.48 | 4.84 | 0 | 34.496 | 37.268 | 0 | 9.32 | 71.764
|  |  |  | Ceramic Tile Sub total | [7 empty] | 20294.2124 | 19271.9164 | 0 |  |  | 39566.1288
GYMSUM BOARD ASSEMBLIES
CELLULAR PLAN
WALL TYPE 6
82 | A-101 | 6/A-700 |  | 1 Finished layer of 5/8'' Gypsum Board On Both Side | 683.84 | 10% | 752.224 | SF | 1.59 | 0.58 | 0 | 1196.0362 | 436.2899 | 0 | 2.17 | 1632.3261
|  |  |  | 4'x8' GB Sheet |  |  | 24 | Sheets
|  |  |  | 500' Tape Roll |  |  | 2 | Rolls
|  |  |  | Joint Compound |  |  | 4 | Gallons
|  |  |  | 1-1/4" Drywall Screws |  |  | 1152 | EA
83 | A-101 | 6/A-700 |  | Sealant @ Top and Bottom | 170.96 | 10% | 188.056 | LF | 1.31 | 0.1 | 0 | 246.3534 | 18.8056 | 0 | 1.41 | 265.159
84 | A-101 | 6/A-700 |  | 2 1/2'' 20 GA. Metal Studs @ 16'' O.C. | 341.92 | 10% | 376.112 | SF | 3.18 | 1.25 | 0 | 1196.0362 | 470.14 | 0 | 4.43 | 1666.1762
| A-101 | 6/A-700 |  | Approx. qty of Studs 8'-6"H | 33.1353 | 0% | 33.1353 | EA
85 | A-101 | 6/A-700 |  | 2 1/2'' 20 GA. Metal Runner Track @ Top & Bottom | 85.48 | 10% | 94.028 | LF | 3.18 | 1.25 | 0 | 299.009 | 117.535 | 0 | 4.43 | 416.544
86 | A-101 | 6/A-700 |  | Sound Attenuating Blanket | 341.92 | 10% | 376.112 | SF | 1.03 | 0.74 | 0 | 387.3954 | 278.3229 | 0 | 1.77 | 665.7182
FIRST FLOOR
WALL TYPE 1
87 | A-102 | 1/A-700 |  | 1 Finished layer of 5/8'' Gypsum Board On Both Side | 819.8 | 10% | 901.78 | SF | 1.59 | 0.58 | 0 | 1433.8302 | 523.0324 | 0 | 2.17 | 1956.8626
|  |  |  | 4'x8' GB Sheet |  |  | 29 | Sheets
|  |  |  | 500' Tape Roll |  |  | 2 | Rolls
|  |  |  | Joint Compound |  |  | 5 | Gallons
|  |  |  | 1-1/4" Drywall Screws |  |  | 1392 | EA
88 | A-102 | 1/A-700 |  | Sealant @ Top and Bottom | 163.96 | 10% | 180.356 | LF | 1.31 | 0.1 | 0 | 236.2664 | 18.0356 | 0 | 1.41 | 254.302
89 | A-102 | 1/A-700 |  | 3 5/8'' 20 GA. Metal Studs @ 16'' O.C. | 409.9 | 10% | 450.89 | SF | 3.36 | 1.38 | 0 | 1514.9904 | 622.2282 | 0 | 4.74 | 2137.2186
| A-102 | 1/A-700 |  | Approx. qty of Studs 17'H | 31.8195 | 0% | 31.8195 | EA
90 | A-102 | 1/A-700 |  | 3 5/8'' 20 GA. Metal Runner Track @ Top & Bottom | 81.98 | 10% | 90.178 | LF | 3.36 | 1.38 | 0 | 302.9981 | 124.4456 | 0 | 4.74 | 427.4437
91 | A-102 | 1/A-700 |  | Sound Attenuating Blanket | 409.9 | 10% | 450.89 | SF | 1.03 | 0.84 | 0 | 464.4167 | 378.7476 | 0 | 1.87 | 843.1643
WALL TYPE 2
92 | A-102 | 2/A-700 |  | 1 Finished layer of 5/8'' Gypsum Board On One Side | 154 | 10% | 169.4 | SF | 1.59 | 0.58 | 0 | 269.346 | 98.252 | 0 | 2.17 | 367.598
|  |  |  | 4'x8' GB Sheet |  |  | 6 | Sheets
|  |  |  | 500' Tape Roll |  |  | 1 | Rolls
|  |  |  | Joint Compound |  |  | 1 | Gallons
|  |  |  | 1-1/4" Drywall Screws |  |  | 288 | EA
93 | A-102 | 2/A-700 |  | 1 Finished layer of 5/8'' Moisture Resistant Board On One Side | 43 | 10% | 47.3 | SF | 1.59 | 0.7 | 0 | 75.207 | 33.11 | 0 | 2.29 | 108.317
|  |  |  | 4'x8' GB Sheet |  |  | 2 | Sheets
|  |  |  | 500' Tape Roll |  |  | 1 | Rolls
|  |  |  | Joint Compound |  |  | 1 | Gallons
|  |  |  | 1-1/4" Drywall Screws |  |  | 96 | EA
94 | A-102 | 2/A-700 |  | Sealant @ Top and Bottom | 52 | 10% | 57.2 | LF | 1.31 | 0.1 | 0 | 74.932 | 5.72 | 0 | 1.41 | 80.652
95 | A-102 | 2/A-700 |  | 3 5/8'' 20 GA. Metal Studs @ 16'' O.C. | 130 | 10% | 143 | SF | 3.36 | 1.38 | 0 | 480.48 | 197.34 | 0 | 4.74 | 677.82
| A-102 | 2/A-700 |  | Approx. qty of Studs 17'H | 10.7744 | 0% | 10.7744 | EA
96 | A-102 | 2/A-700 |  | 3 5/8'' 20 GA. Metal Runner Track @ Top & Bottom | 26 | 10% | 28.6 | LF | 3.36 | 1.38 | 0 | 96.096 | 39.468 | 0 | 4.74 | 135.564
97 | A-102 | 2/A-700 |  | Sound Attenuating Blanket | 130 | 10% | 143 | SF | 1.03 | 0.84 | 0 | 147.29 | 120.12 | 0 | 1.87 | 267.41
WALL TYPE 3
98 | A-102 | 3/A-700 |  | 1 layer of 5/8'' Cement-Based Tile Backer Board | 142.7 | 10% | 156.97 | SF | 1.87 | 1.25 | 0 | 293.5339 | 196.2125 | 0 | 3.12 | 489.7464
|  |  |  | 4'x8' GB Sheet |  |  | 5 | Sheets
|  |  |  | 500' Tape Roll |  |  | 1 | Rolls
|  |  |  | Joint Compound |  |  | 1 | Gallons
|  |  |  | 1-1/4" Drywall Screws |  |  | 240 | EA
99 | A-102 | 3/A-700 |  | Sealant @ Top and Bottom | 28.54 | 10% | 31.394 | LF | 1.31 | 0.1 | 0 | 41.1261 | 3.1394 | 0 | 1.41 | 44.2655
100 | A-102 | 3/A-700 |  | 3 5/8'' 20 GA. Metal Studs @ 16'' O.C. | 142.7 | 10% | 156.97 | SF | 3.36 | 1.38 | 0 | 527.4192 | 216.6186 | 0 | 4.74 | 744.0378
| A-102 | 3/A-700 |  | Approx. qty of Studs 17'H | 11.7293 | 0% | 11.7293 | EA
101 | A-102 | 3/A-700 |  | 3 5/8'' 20 GA. Metal Runner Track @ Top & Bottom | 28.54 | 10% | 31.394 | LF | 3.36 | 1.38 | 0 | 105.4838 | 43.3237 | 0 | 4.74 | 148.8076
102 | A-102 | 3/A-700 |  | 4 Mil Polyethylene Film | 142.7 | 10% | 156.97 | SF | 0.56 | 0.57 | 0 | 87.9032 | 89.4729 | 0 | 1.13 | 177.3761
WALL TYPE 4
103 | A-102 | 4/A-700 |  | 1 Finished layer of 5/8'' Gypsum Board On Both Side | 146.6 | 10% | 161.26 | SF | 1.59 | 0.58 | 0 | 256.4034 | 93.5308 | 0 | 2.17 | 349.9342
|  |  |  | 4'x8' GB Sheet |  |  | 6 | Sheets
|  |  |  | 500' Tape Roll |  |  | 1 | Rolls
|  |  |  | Joint Compound |  |  | 1 | Gallons
|  |  |  | 1-1/4" Drywall Screws |  |  | 288 | EA
104 | A-102 | 4/A-700 |  | 1 layer of 5/8'' Cement-Based Tile Backer Board | 73.3 | 10% | 80.63 | SF | 1.87 | 1.25 | 0 | 150.7781 | 100.7875 | 0 | 3.12 | 251.5656
|  |  |  | 4'x8' GB Sheet |  |  | 3 | Sheets
|  |  |  | 500' Tape Roll |  |  | 1 | Rolls
|  |  |  | Joint Compound |  |  | 1 | Gallons
|  |  |  | 1-1/4" Drywall Screws |  |  | 144 | EA
105 | A-102 | 4/A-700 |  | Sealant @ Top and Bottom | 43.98 | 10% | 48.378 | LF | 1.31 | 0.1 | 0 | 63.3752 | 4.8378 | 0 | 1.41 | 68.213
106 | A-102 | 4/A-700 |  | 6'' 20 GA. Metal Studs @ 16'' O.C. | 73.3 | 10% | 80.63 | SF | 3.55 | 1.69 | 0 | 286.2365 | 136.2647 | 0 | 5.24 | 422.5012
| A-102 | 4/A-700 |  | Approx. qty of Studs 17'H | 6.5113 | 0% | 6.5113 | EA
107 | A-102 | 4/A-700 |  | 6" 20 GA. Metal Runner Track @ Top & Bottom | 14.66 | 10% | 16.126 | LF | 3.55 | 1.69 | 0 | 57.2473 | 27.2529 | 0 | 5.24 | 84.5002
108 | A-102 | 4/A-700 |  | Sound Attenuating Blanket | 73.3 | 10% | 80.63 | SF | 1.03 | 0.92 | 0 | 83.0489 | 74.1796 | 0 | 1.95 | 157.2285
109 | A-102 | 4/A-700 |  | 7/8'' 20 GA. Metal Furring @ 24'' O.C. | 73.3 | 10% | 80.63 | SF | 2.34 | 1.18 | 0 | 188.6742 | 95.1434 | 0 | 3.52 | 283.8176
WALL TYPE 5
110 | A-102 | 5/A-700 |  | 1 Finished layer of 5/8'' Gypsum Board On Both Sides | 214.2 | 10% | 235.62 | SF | 1.59 | 0.58 | 0 | 374.6358 | 136.6596 | 0 | 2.17 | 511.2954
|  |  |  | 4'x8' GB Sheet |  |  | 8 | Sheets
|  |  |  | 500' Tape Roll |  |  | 1 | Rolls
|  |  |  | Joint Compound |  |  | 2 | Gallons
|  |  |  | 1-1/4" Drywall Screws |  |  | 384 | EA
111 | A-102 | 5/A-700 |  | Sealant @ Top and Bottom | 42.84 | 10% | 47.124 | LF | 1.31 | 0.1 | 0 | 61.7324 | 4.7124 | 0 | 1.41 | 66.4448
112 | A-102 | 5/A-700 |  | 2 1/2'' 20 GA. Metal Studs @ 16'' O.C. | 107.1 | 10% | 117.81 | SF | 3.18 | 1.25 | 0 | 374.6358 | 147.2625 | 0 | 4.43 | 521.8983
| A-102 | 5/A-700 |  | Approx. qty of Studs 17'H | 9.0526 | 0% | 9.0526 | EA
113 | A-102 | 5/A-700 |  | 2 1/2'' 20 GA. Metal Runner Track @ Top & Bottom | 21.42 | 10% | 23.562 | LF | 3.18 | 1.25 | 0 | 74.9272 | 29.4525 | 0 | 4.43 | 104.3797
114 | A-102 | 5/A-700 |  | Sound Attenuating Blanket | 107.1 | 10% | 117.81 | SF | 1.03 | 0.74 | 0 | 121.3443 | 87.1794 | 0 | 1.77 | 208.5237
WALL TYPE 6
115 | A-102 | 6/A-700 |  | 1 Finished layer of 5/8'' Gypsum Board On Both Sides | 80 | 10% | 88 | SF | 1.59 | 0.58 | 0 | 139.92 | 51.04 | 0 | 2.17 | 190.96
|  |  |  | 4'x8' GB Sheet |  |  | 3 | Sheets
|  |  |  | 500' Tape Roll |  |  | 1 | Rolls
|  |  |  | Joint Compound |  |  | 1 | Gallons
|  |  |  | 1-1/4" Drywall Screws |  |  | 144 | EA
116 | A-102 | 6/A-700 |  | Sealant @ Top and Bottom | 16 | 10% | 17.6 | LF | 1.31 | 0.1 | 0 | 23.056 | 1.76 | 0 | 1.41 | 24.816
117 | A-102 | 6/A-700 |  | 2 1/2'' 20 GA. Metal Studs @ 16'' O.C. | 40 | 10% | 44 | SF | 3.18 | 1.25 | 0 | 139.92 | 55 | 0 | 4.43 | 194.92
| A-102 | 6/A-700 |  | Approx. qty of Studs 17'H | 4.0075 | 0% | 4.0075 | EA
118 | A-102 | 6/A-700 |  | 2 1/2'' 20 GA. Metal Runner Track @ Top & Bottom | 8 | 10% | 8.8 | LF | 3.18 | 1.25 | 0 | 27.984 | 11 | 0 | 4.43 | 38.984
119 | A-102 | 6/A-700 |  | Sound Attenuating Blanket | 40 | 10% | 44 | SF | 1.03 | 0.74 | 0 | 45.32 | 32.56 | 0 | 1.77 | 77.88
WALL TYPE 7
120 | A-102 | 7/A-700 |  | 1 Finished layer of 5/8'' Gypsum Board On Both Sides | 31.8 | 10% | 34.98 | SF | 1.59 | 0.58 | 0 | 55.6182 | 20.2884 | 0 | 2.17 | 75.9066
|  |  |  | 4'x8' GB Sheet |  |  | 2 | Sheets
|  |  |  | 500' Tape Roll |  |  | 1 | Rolls
|  |  |  | Joint Compound |  |  | 1 | Gallons
|  |  |  | 1-1/4" Drywall Screws |  |  | 96 | EA
121 | A-102 | 7/A-700 |  | Sealant @ Top and Bottom | 12.72 | 10% | 13.992 | LF | 1.31 | 0.1 | 0 | 18.3295 | 1.3992 | 0 | 1.41 | 19.7287
122 | A-102 | 7/A-700 |  | 6'' 20 GA. Metal Studs @ 16'' O.C. | 31.8 | 10% | 34.98 | SF | 3.55 | 1.69 | 0 | 124.179 | 59.1162 | 0 | 5.24 | 183.2952
| A-102 | 7/A-700 |  | Approx. qty of Studs 17'H | 3.391 | 0% | 3.391 | EA
123 | A-102 | 7/A-700 |  | 6'' 20 GA. Metal Runner Track @ Top & Bottom | 6.36 | 10% | 6.996 | LF | 3.55 | 1.69 | 0 | 24.8358 | 11.8232 | 0 | 5.24 | 36.659
124 | A-102 | 7/A-700 |  | Sound Attenuating Blanket | 31.8 | 10% | 34.98 | SF | 1.03 | 0.92 | 0 | 36.0294 | 32.1816 | 0 | 1.95 | 68.211
|  |  |  | Gypsum Board Assemblies Sub total | [7 empty] | 12204.3801 | 5243.7917 | 0 |  |  | 17448.1718
CARPET
125 | A-102 | Finish Schedule/A001 |  | Carpet Tile Flooring Size: 24x24 Color: Mohawk Group Chromatic Cadence BT596 | 97.8 | 10% | 107.58 | SF | 3.27 | 3.45 | 0 | 351.7866 | 371.151 | 0 | 6.72 | 722.9376
126 | A-102 | Finish Schedule/A001 |  | Rubber Wall Base | 35 | 10% | 38.5 | LF | 2.99 | 1.85 | 0 | 115.115 | 71.225 | 0 | 4.84 | 186.34
|  |  |  | Carpet Sub total | [7 empty] | 466.9016 | 442.376 | 0 |  |  | 909.2776
SPECIALTY CEILING
127 | A-102 | Ceiling Schedule/ A001 |  | CL-1 18mm Thk, 8"Space Baffle Ceiling w/ Suspension System Manufacture: Akustus Model: Billow Baffle Size: 15' Length Color: Moss | 135.1 | 10% | 148.61 | SF | 9.33 | 13.2222 | 0 | 1386.5313 | 1964.9544 | 0 | 22.5522 | 3351.4857
128 | A-102 | Ceiling Schedule/ A001 |  | CL-2 60mm Thk, 8 LED Baffle Ceiling w/ suspension system Manufacture: Akustus Model: Cargo Led Baffle Size: 15' Length Color: Midnight Blue | 264.2 | 10% | 290.62 | SF | 9.33 | 13.2222 | 0 | 2711.4846 | 3842.6422 | 0 | 22.5522 | 6554.1268
129 | A-102 | Ceiling Schedule/ A001 |  | CL-3 60mm Thk, 8 LED Baffle Ceiling w/ suspension system Manufacture: Akustus Model: Cargo Led Baffle Size: 15' Length Color: Sunflower | 223.7 | 10% | 246.07 | SF | 9.33 | 13.2222 | 0 | 2295.8331 | 3253.5922 | 0 | 22.5522 | 5549.4253
|  |  |  | Specialty Ceiling Sub total | [7 empty] | 6393.849 | 9061.1889 | 0 |  |  | 15455.0379
WOOD WAINSCOTTING
130 | A-102 | Finish Schedule/A001 |  | White Oak Wood Wainscot Height: 3'6"H | 396.3 | 10% | 435.93 | SF | 3.74 | 4.12 | 0 | 1630.3782 | 1796.0316 | 0 | 7.86 | 3426.4098
|  |  |  | Wood Wainscotting Sub total | [7 empty] | 1630.3782 | 1796.0316 | 0 |  |  | 3426.4098
VINYL STAIR TREADS
131 | A101 | Finish Schedule/A001 |  | Vinyl Tread floor finish to match kitchen Floor | 28.1 | 10% | 30.91 | SF | 4.2 | 4.39 | 0 | 129.822 | 135.6949 | 0 | 8.59 | 265.5169
132 | A101 | Finish Schedule/A001 |  | Vinyl Wall Base | 15.2 | 10% | 16.72 | LF | 2.99 | 1.85 | 0 | 49.9928 | 30.932 | 0 | 4.84 | 80.9248
|  |  |  | Vinyl Stair Treads Sub total | [7 empty] | 179.8148 | 166.6269 | 0 |  |  | 346.4417
PAINTING
133 | A101 | Finish Schedule/A001 |  | Paint OC-7 @ Walls Manufacturer: Benjamin Moore Color: Creamy White | 2462.14 | 10% | 2708.354 | SF | 1.31 | 0.4 | 0 | 3547.9437 | 1083.3416 | 0 | 1.71 | 4631.2853
134 | A101 | Finish Schedule/A001 |  | Paint OC-55 @ Walls Manufacturer: Benjamin Moore | 848.41 | 10% | 933.251 | SF | 1.31 | 0.4 | 0 | 1222.5588 | 373.3004 | 0 | 1.71 | 1595.8592
135 | A101 | Finish Schedule/A001 |  | Paint 2064-10 @ Walls Manufacturer: Benjamin Moore Color: Bold Blue | 432.6 | 10% | 475.86 | SF | 1.31 | 0.4 | 0 | 623.3766 | 190.344 | 0 | 1.71 | 813.7206
136 | A101 | Finish Schedule/A001 |  | Paint OC-55 @ Gypsum Board Ceiling Manufacturer: Benjamin Moore | 737.41 | 10% | 811.151 | SF | 1.31 | 0.4 | 0 | 1062.6078 | 324.4604 | 0 | 1.71 | 1387.0682
137 | A101 | Finish Schedule/A001 |  | Paint OC-7 @ Gypsum Board Ceiling Manufacturer: Benjamin Moore Color: Creamy White | 970.23 | 10% | 1067.253 | SF | 1.31 | 0.4 | 0 | 1398.1014 | 426.9012 | 0 | 1.71 | 1825.0026
138 | A901 | Door Schedule |  | Paint @ Doors | 6 | 0% | 6 | EA | 60.01 | 35.7 | 0 | 360.06 | 214.2 | 0 | 95.71 | 574.26
MISC. PAINTING
139 | A101 | Finish Schedule/A001 |  | Paint Exposed Metal Steel @ Stairs | 30.18 | 10% | 33.198 | LF | 3.59 | 1.85 | 0 | 119.1808 | 61.4163 | 0 | 5.44 | 180.5971
140 | A101 | Finish Schedule/A001 |  | Paint @ New Metal Handrail | 25.3 | 10% | 27.83 | LF | 2.94 | 1.65 | 0 | 81.8202 | 45.9195 | 0 | 4.59 | 127.7397
|  |  |  | Painting Sub total | [7 empty] | 8415.6494 | 2719.8834 | 0 |  |  | 11135.5328
COUNTERTOP
Countertops covered under Division12- Furnishings
|  |  |  | Countertop Sub total | [7 empty] | 0 | 0 | 0 |  |  | 0
|  |  | DIVISION- 10 | SPECIALTIES
GREEN MOSS WALL
141 | A401 | Accessories Schedule/ A001 |  | AC-6: Moss Feature Wall System Mfr: Green Oasis Model: Feature Wall-00 Size: 4'11"Hx5'11"W Color/ Finish: Moss | 30 | 10% | 33 | SF | 37.32 | 106.875 | 0 | 1231.56 | 3526.875 | 0 | 144.195 | 4758.435
|  |  |  | Green Moss Wall Sub total | [7 empty] | 1231.56 | 3526.875 | 0 |  |  | 4758.435
SIGNAGE
142 | A901 | 1,2/A901 |  | 8"x10"Acrylic Plate Interior Signage plate | 2 | 0% | 2 | EA | 57.85 | 56.3 | 0 | 115.7 | 112.6 | 0 | 114.15 | 228.3
143 | A901 | 3/A901 |  | 1'2"x2"Acrylic Plate Interior Signage plate | 1 | 0% | 1 | EA | 57.85 | 47.2 | 0 | 57.85 | 47.2 | 0 | 105.05 | 105.05
144 | A901 | 4,5/A901 |  | 0'10"x2"Acrylic Plate Interior Signage plate | 2 | 0% | 2 | EA | 57.85 | 44.29 | 0 | 115.7 | 88.58 | 0 | 102.14 | 204.28
145 | A401 | 6/A901 |  | 5'-5"x3" X 0'-3", BSEC Signage | 1 | 0% | 1 | EA | 125.96 | 124.8 | 0 | 125.96 | 124.8 | 0 | 250.76 | 250.76
146 | A401 | 6/A901 |  | 2"W Lettering Signage | 32 | 0% | 32 | EA | 39.19 | 19.24 | 0 | 1254.08 | 615.68 | 0 | 58.43 | 1869.76
|  |  |  | Signages Sub total | [7 empty] | 1669.29 | 988.86 | 0 |  |  | 2658.15
TOILET ACCESSORIES
147 | A402 | Accessories Schedule/ A001 |  | AC-3: Wall mtd Arched Mirror Mfr: REJUVENATION Model: Arched Mirror Size: 24"Wx40"H Finish: Aged Brass | 1 | 0% | 1 | EA | 163.28 | 274.97 | 0 | 163.28 | 274.97 | 0 | 438.25 | 438.25
148 | A402 | Accessories Schedule/ A001 |  | AC-4: Toilet Tissue Holder Mfr: Bobrick Model: B-9882 Size: 9"Wx8"H Finish: White | 1 | 0% | 1 | EA | 128.76 | 257.37 | 0 | 128.76 | 257.37 | 0 | 386.13 | 386.13
149 | A402 | Accessories Schedule/ A001 |  | AC-5: Paper Towel Dispenser Mfr: American Specialties Model: 6467-00 Size: 55"Wx13"H Finish: White | 1 | 0% | 1 | EA | 209.93 | 702.9 | 0 | 209.93 | 702.9 | 0 | 912.83 | 912.83
|  |  |  | Toilet Accessories Sub total | [7 empty] | 501.97 | 1235.24 | 0 |  |  | 1737.21
FOLDING PARTITIONS
150 | A401 | Accessories Schedule/ A001 |  | AC-2: Acoustic Seal encore Serries paired Folding Panel System Mfr: Modern Fold Model: Paired Panel | 11 | 10% | 12.1 | SF | 51.79 | 70.5 | 0 | 626.659 | 853.05 | 0 | 122.29 | 1479.709
151 | A102 |  |  | 2x10 Wood Blocking over Partition Track | 24 | 10% | 26.4 | LF | 3.92 | 2.12 | 0 | 103.488 | 55.968 | 0 | 6.04 | 159.456
|  |  |  | Folding partitions Sub total | [7 empty] | 730.147 | 909.018 | 0 |  |  | 1639.165
|  |  | DIVISION- 11 | EQUIPMENT
APPLIANCES
152 | A401 | Appliances Schedule/ A001 |  | AP-1: Drawer Microwave, 24" Mfr: Fisher & Paykel Model: OMD24SDB1 Size: 24"Wx16"H Color: Black | 1 | 0% | 1 | EA | 699.75 | 2249 | 0 | 699.75 | 2249 | 0 | 2948.75 | 2948.75
153 | A401 | Appliances Schedule/ A001 |  | AP-2: 30"Series 11 Integrated Refrigerator Freezer, Ice & water Mfr: Fisher & Paykel Model: RS3084WRUEI Size: 84"Hx30"Wx24"D Color: White Oak | 1 | 0% | 1 | EA | 1194.24 | 9849 | 0 | 1194.24 | 9849 | 0 | 11043.24 | 11043.24
154 | A402 | Appliances Schedule/ A001 |  | AP-3: Bottom Freezer Refrigerator Mfr: LG Model: LBNC15231V Size: 67"Hx28"Wx28"D Color: Stainless Steel | 1 | 0% | 1 | EA | 1007.64 | 1499 | 0 | 1007.64 | 1499 | 0 | 2506.64 | 2506.64
155 | A402 | Appliances Schedule/ A001 |  | AP-4: Washer & Dryer Mfr: LG Model: WKHC252H-A Size: 75"Hx27"Wx33"D Color: Black Steel | 1 | 0% | 1 | EA | 783.72 | 2799 | 0 | 783.72 | 2799 | 0 | 3582.72 | 3582.72
|  |  |  | Appliances Sub total | [7 empty] | 3685.35 | 16396 | 0 |  |  | 20081.35
|  |  | DIVISION- 12 | FURNISHINGS
FURNITURE
156 | A110 | Furniture Schedule/ A001 |  | F-1: Conference Chair Mfr: Herman Miller Model: Eames Soft Color/ Finish: Mode Goldenrod | 14 | 0% | 14 | EA | 537.41 | 2808.75 | 0 | 7523.74 | 39322.5 | 0 | 3346.16 | 46846.24
157 | A110 | Furniture Schedule/ A001 |  | F-2: Conference Tables Mfr: Hive Model: Tables 82B Size: 53"Lx33"Dx29"H Color/ Finish: Birch Veneer | 7 | 0% | 7 | EA | 886.35 | 2395 | 0 | 6204.45 | 16765 | 0 | 3281.35 | 22969.45
158 | A110 | Furniture Schedule/ A001 |  | F-3: Credenza Mfr: Article Model: Lenia Size: 71"Lx19"Dx30"H Color/ Finish: White Oak | 1 | 0% | 1 | EA | 783.72 | 1517 | 0 | 783.72 | 1517 | 0 | 2300.72 | 2300.72
159 | A110 | Furniture Schedule/ A001 |  | F-4: Lounge Chair Mfr: Hive Model: Tank Chair Size: 30"Lx30"Dx26"H Color/ Finish: Natural Lacquered Armrests | 2 | 0% | 2 | EA | 537.41 | 2935 | 0 | 1074.82 | 5870 | 0 | 3472.41 | 6944.82
160 | A110 | Furniture Schedule/ A001 |  | F-5: Side Table Mfr: Hive Model: Table 90B Size: 29"Diax29"H Color/ Finish: Birch | 1 | 0% | 1 | EA | 813.58 | 1290 | 0 | 813.58 | 1290 | 0 | 2103.58 | 2103.58
161 | A110 | Furniture Schedule/ A001 |  | F-6: Round Folding Table Mfr: School Outfitters Model: Round Max Color/ Finish: White Top w/Black Legs | 5 | 0% | 5 | EA | 595.26 | 850.99 | 0 | 2976.3 | 4254.95 | 0 | 1446.25 | 7231.25
|  |  |  | Furniture Sub total | [7 empty] | 19376.61 | 69019.45 | 0 |  |  | 88396.06
WHITE BOARDS
162 | A401-A402 | Accessories Schedule/ A001 |  | AC-1: Brilliance Glass Dry Erase Board Large White Board Mfr: Quartet Model: G29648W Size: 8'x4' Color: Glass | 96 | 10% | 105.6 | SF | 7.94 | 18.1247 | 0 | 838.464 | 1913.967 | 0 | 26.0647 | 2752.431
163 | A402 | 4/5/A701 |  | Combination of white & tack board @ Built-in Bench | 20 | 10% | 22 | SF | 7.94 | 19.5829 | 0 | 174.68 | 430.8242 | 0 | 27.5229 | 605.5042
|  |  |  | White Boards Sub total | [7 empty] | 1013.144 | 2344.7912 | 0 |  |  | 3357.9352
COUNTERTOPS
164 | A101/A102 |  |  | Laminated Surface countertop over - Plywood | 41.9 | 10% | 46.09 | SF | 25.66 | 44.12 | 0 | 1182.6694 | 2033.4908 | 0 | 69.78 | 3216.1602
165 | A102 |  |  | Brassed Surface countertop over - Plywood | 70.4 | 10% | 77.44 | SF | 32.66 | 60.95 | 0 | 2529.1904 | 4719.968 | 0 | 93.61 | 7249.1584
|  |  |  | Countertops Sub total | [7 empty] | 3711.8598 | 6753.4588 | 0 |  |  | 10465.3186
|  |  | DIVISION- 21 | FIRE SUPRESSION
| SP-500 |  |  | Piping Material: - All Fire sprinkler piping shall be schedule 40 galvanized steel.
PIPING
166 | SP-200 |  |  | 1" Dia Fire Sprinkler Pipe | 149.52 | 10% | 164.472 | LF | 17.19 | 5.88 | 0 | 2827.2737 | 967.0954 | 0 | 23.07 | 3794.369
167 | SP-200 |  |  | 1-1/4" Dia Fire Sprinkler Pipe | 18.38 | 10% | 20.218 | LF | 19.32 | 7.35 | 0 | 390.6118 | 148.6023 | 0 | 26.67 | 539.2141
168 | SP-200 |  |  | 1-1/2" Dia Fire Sprinkler Pipe | 4.34 | 10% | 4.774 | LF | 20.74 | 8.82 | 0 | 99.0128 | 42.1067 | 0 | 29.56 | 141.1194
169 | SP-200 |  |  | 2" Dia Fire Sprinkler Pipe | 50.41 | 10% | 55.451 | LF | 22.52 | 11.76 | 0 | 1248.7565 | 652.1038 | 0 | 34.28 | 1900.8603
170 | SP-200 |  |  | 2-1/2" Dia Fire Sprinkler Pipe | 41.59 | 10% | 45.749 | LF | 25.01 | 14.7 | 0 | 1144.1825 | 672.5103 | 0 | 39.71 | 1816.6928
171 | SP-200 |  |  | 3" Dia Fire Sprinkler Pipe | 8.96 | 10% | 9.856 | LF | 27.61 | 17.64 | 0 | 272.1242 | 173.8598 | 0 | 45.25 | 445.984
RISER
172 | SP-200 |  |  | 2-1/2" Dia Fire Sprinkler Pipe | 20.33 | 10% | 22.363 | LF | 25.01 | 14.7 | 0 | 559.2986 | 328.7361 | 0 | 39.71 | 888.0347
FIXTURES
173 | SP-200 |  |  | 1 1/2" Point of connection: connect new sprinkler piping to existing | 1 | 0% | 1 | EA | 177.74 | 75 | 0 | 177.74 | 75 | 0 | 252.74 | 252.74
174 | SP-200 |  |  | 3" Point of connection: connect new sprinkler piping to existing | 1 | 0% | 1 | EA | 177.74 | 75 | 0 | 177.74 | 75 | 0 | 252.74 | 252.74
175 | SP-200 |  |  | Concealed Pendant Sprinkler Heads, Mfg: Reliable, #F1FR56, 1/2" Orifice Size, 5.6 K-Factor | 16 | 0% | 16 | EA | 53.33 | 16.55 | 0 | 853.28 | 264.8 | 0 | 69.88 | 1118.08
176 | SP-200 |  |  | Upright Sprinkler Heads, Mfg: Reliable, #F1FR56, 1/2" Orifice Size, 5.6 K-Factor | 10 | 0% | 10 | EA | 53.33 | 24.95 | 0 | 533.3 | 249.5 | 0 | 78.28 | 782.8
ALLOWANCE
177 | SP-200 |  |  | Allowance for fire protection including misc. pipe connections, fittings, sleeves, hangers, supports and misc. fire suppression requirements. -Total Building Area: 2,060 SF | 1 | 0% | 1 | LS | 3173.17 | 1915.8 | 0 | 3173.17 | 1915.8 | 0 | 5088.97 | 5088.97
|  |  |  | Fire Suppression Sub total | [7 empty] | 11456.49 | 5565.1143 | 0 |  |  | 17021.6043
|  |  | DIVISION- 22 | PLUMBING
|  | Specs |  | Piping Material: - Water piping shall be copper tubing type L
|  | Specs |  | Piping Material: - All Sanitary, and vent piping shall be Cast iron
DOMESTIC WATER SYSTEM
PIPING ABOVEGROUND
178 | P-100 |  |  | 1/2" Dia Cold Water Line | 21 | 10% | 23.1 | LF | 12.33 | 3.46 | 0 | 284.823 | 79.926 | 0 | 15.79 | 364.749
179 | P-100 |  |  | 3/4" Dia Cold Water Line | 26 | 10% | 28.6 | LF | 13.04 | 6.02 | 0 | 372.944 | 172.172 | 0 | 19.06 | 545.116
180 | P-100 |  |  | 1 1/4" Dia Cold Water Line | 8 | 10% | 8.8 | LF | 17.19 | 10 | 0 | 151.272 | 88 | 0 | 27.19 | 239.272
181 | P-100 |  |  | 1 1/2" Dia Cold Water Line | 2 | 10% | 2.2 | LF | 19.2 | 12.65 | 0 | 42.24 | 27.83 | 0 | 31.85 | 70.07
182 | P-100 |  |  | 1/2" Dia Hot Water Line | 6 | 10% | 6.6 | LF | 12.33 | 3.46 | 0 | 81.378 | 22.836 | 0 | 15.79 | 104.214
183 | P-100 |  |  | 3/4" Dia Hot Water Line | 30 | 10% | 33 | LF | 13.04 | 6.02 | 0 | 430.32 | 198.66 | 0 | 19.06 | 628.98
RISER ABOVEGROUND
184 | P-100 |  |  | 3/4" Dia Cold Water Line | 10 | 10% | 11 | LF | 13.04 | 6.02 | 0 | 143.44 | 66.22 | 0 | 19.06 | 209.66
185 | P-100 |  |  | 3/4" Dia Hot Water Line | 10 | 10% | 11 | LF | 13.04 | 6.02 | 0 | 143.44 | 66.22 | 0 | 19.06 | 209.66
WATER FIXTURES
186 | P-100 |  |  | Leak Detection Receiver Box And Heat Trace Controller | 2 | 0% | 2 | EA | 340.78 | 367.69 | 0 | 681.56 | 735.38 | 0 | 708.47 | 1416.94
187 | P-100 |  |  | Leak Detection Receiver Boxes | 2 | 0% | 2 | EA | 132.12 | 108.9 | 0 | 264.24 | 217.8 | 0 | 241.02 | 482.04
188 | P-100 |  |  | Leak Sensor | 1 | 0% | 1 | EA | 89.58 | 59.98 | 0 | 89.58 | 59.98 | 0 | 149.56 | 149.56
189 | P-100 | Schedule |  | EWH-1: Electric Water Heater Mfr./Model: Bradford White RE120L6 | 1 | 0% | 1 | EA | 970.44 | 1565.79 | 0 | 970.44 | 1565.79 | 0 | 2536.23 | 2536.23
190 | P-100 | Schedule |  | EWH-2: Electric Water Heater Mfr./Model: Bradford White RE120L6 | 1 | 0% | 1 | EA | 970.44 | 1565.79 | 0 | 970.44 | 1565.79 | 0 | 2536.23 | 2536.23
SANITARY WASTE & VENT SYSTEM
PIPING ABOVEGROUND
191 | P-100 |  |  | 1 1/2" Dia Sanitary Line | 3.137 | 10% | 3.4507 | LF | 13.75 | 10.4925 | 0 | 47.4471 | 36.2065 | 0 | 24.2425 | 83.6536
192 | P-100 |  |  | 2" Dia Sanitary Line | 16 | 10% | 17.6 | LF | 15.17 | 13.99 | 0 | 266.992 | 246.224 | 0 | 29.16 | 513.216
193 | P-100 |  |  | 3" Dia Sanitary Line | 9 | 10% | 9.9 | LF | 18.73 | 20.985 | 0 | 185.427 | 207.7515 | 0 | 39.715 | 393.1785
194 | P-100 |  |  | 1-1/2" Dia Sanitary Line | 2 | 10% | 2.2 | LF | 13.75 | 10.4925 | 0 | 30.25 | 23.0835 | 0 | 24.2425 | 53.3335
195 | P-100 |  |  | 4" Dia Sanitary Line | 23 | 10% | 25.3 | LF | 20.74 | 27.98 | 0 | 524.722 | 707.894 | 0 | 48.72 | 1232.616
196 | P-100 |  |  | 1 1/2" Dia Vent Line | 12.492 | 10% | 13.7412 | LF | 13.75 | 10.4925 | 0 | 188.9415 | 144.1795 | 0 | 24.2425 | 333.121
197 | P-100 |  |  | 2" Dia Vent Line | 10 | 10% | 11 | LF | 15.17 | 13.99 | 0 | 166.87 | 153.89 | 0 | 29.16 | 320.76
RISER ABOVEGROUND
198 | P-100 |  |  | 2" Dia Sanitary Line | 10 | 10% | 11 | LF | 15.17 | 13.99 | 0 | 166.87 | 153.89 | 0 | 29.16 | 320.76
199 | P-100 |  |  | 4" Dia Sanitary Line | 10 | 10% | 11 | LF | 20.74 | 27.98 | 0 | 228.14 | 307.78 | 0 | 48.72 | 535.92
200 | P-100 |  |  | 1 1/2" Dia Vent Line | 10 | 10% | 11 | LF | 13.75 | 10.4925 | 0 | 151.25 | 115.4175 | 0 | 24.2425 | 266.6675
201 | P-100 |  |  | 2" Dia Vent Line | 10 | 10% | 11 | LF | 15.17 | 13.99 | 0 | 166.87 | 153.89 | 0 | 29.16 | 320.76
SANITARY FIXTURES
202 | P-100 |  |  | 2" FD: Floor Drain | 1 | 0% | 1 | EA | 155.23 | 117 | 0 | 155.23 | 117 | 0 | 272.23 | 272.23
203 | P-100 |  |  | DF: Drinking Fountain | 1 | 0% | 1 | EA | 1599.62 | 2791.28 | 0 | 1599.62 | 2791.28 | 0 | 4390.9 | 4390.9
204 | P-100 |  |  | LAV, Lavatory, #ZW3870XLT-4P | 1 | 0% | 1 | EA | 497.66 | 384 | 0 | 497.66 | 384 | 0 | 881.66 | 881.66
205 | P-100 |  |  | SK: Pantry Sink | 2 | 0% | 2 | EA | 497.66 | 505 | 0 | 995.32 | 1010 | 0 | 1002.66 | 2005.32
206 | P-100 |  |  | SS: Service Sink | 1 | 0% | 1 | EA | 616.15 | 811 | 0 | 616.15 | 811 | 0 | 1427.15 | 1427.15
207 | P-100 |  |  | Washing Machine Box | 1 | 0% | 1 | EA | 113.76 | 51.99 | 0 | 113.76 | 51.99 | 0 | 165.75 | 165.75
208 | P-100 |  |  | WC: Water Closet | 1 | 0% | 1 | EA | 513.07 | 462.1 | 0 | 513.07 | 462.1 | 0 | 975.17 | 975.17
ALLOWANCE
209 | P-100 |  |  | Allowance for pipe connections, fittings, sleeves, hangers, supports and misc. plumbing requirements. -Total Building Area: 2,060 SF | 1 | 0% | 1 | LS | 5175.65 | 2935.5 | 0 | 5175.65 | 2935.5 | 0 | 8111.15 | 8111.15
|  |  |  | Plumbing Sub total | [7 empty] | 16416.3566 | 15679.6805 | 0 |  |  | 32096.0371
|  |  | DIVISION- 23 | HVAC
|  | Specs |  | Note: We Have Assumed Duct Work To Be 24 Gauge Galvanized Sheet Stainless Steel.
DUCTING
210 | M-001 - M-300 |  |  | Supply Air Duct 10 x 8 | 14.91 | 10% | 16.401 | LF | 46.35 | 14.88 | 0 | 760.1864 | 244.0469 | 0 | 61.23 | 1004.2332
211 | M-001 - M-300 |  |  | Supply Air Duct 12 x 10 | 14.74 | 10% | 16.214 | LF | 56.65 | 22.32 | 0 | 918.5231 | 361.8965 | 0 | 78.97 | 1280.4196
212 | M-001 - M-300 |  |  | Supply Air Duct 12 x 5 | 3.28 | 10% | 3.608 | LF | 43.78 | 11.16 | 0 | 157.9582 | 40.2653 | 0 | 54.94 | 198.2235
213 | M-001 - M-300 |  |  | Supply Air Duct 12 x 6 | 5.16 | 10% | 5.676 | LF | 46.35 | 13.392 | 0 | 263.0826 | 76.013 | 0 | 59.742 | 339.0956
214 | M-001 - M-300 |  |  | Supply Air Duct 12 x 6 | 17.43 | 10% | 19.173 | LF | 46.35 | 13.392 | 0 | 888.6686 | 256.7648 | 0 | 59.742 | 1145.4334
215 | M-001 - M-300 |  |  | Supply Air Duct 14 x 12 | 12.23 | 10% | 13.453 | LF | 66.95 | 31.248 | 0 | 900.6784 | 420.3793 | 0 | 98.198 | 1321.0577
216 | M-001 - M-300 |  |  | Supply Air Duct 14 x 16 | 18.17 | 10% | 19.987 | LF | 77.25 | 41.664 | 0 | 1543.9958 | 832.7384 | 0 | 118.914 | 2376.7341
217 | M-001 - M-300 |  |  | Supply Air Duct 20 x 12 | 28.07 | 10% | 30.877 | LF | 82.4 | 44.64 | 0 | 2544.2648 | 1378.3493 | 0 | 127.04 | 3922.6141
218 | M-001 - M-300 |  |  | Supply Air Duct 8 x 6 | 11.56 | 10% | 12.716 | LF | 36.05 | 8.928 | 0 | 458.4118 | 113.5284 | 0 | 44.978 | 571.9402
219 | M-001 - M-300 |  |  | Outside Air Duct 12 x 12 | 16.28 | 10% | 17.908 | LF | 61.8 | 26.784 | 0 | 1106.7144 | 479.6479 | 0 | 88.584 | 1586.3623
220 | M-001 - M-300 |  |  | Outside Air Duct 22 x 12 | 6.74 | 10% | 7.414 | LF | 87.55 | 49.104 | 0 | 649.0957 | 364.0571 | 0 | 136.654 | 1013.1528
221 | M-001 - M-300 |  |  | Outside Air Duct 6 x 6 | 2.39 | 10% | 2.629 | LF | 30.9 | 6.696 | 0 | 81.2361 | 17.6038 | 0 | 37.596 | 98.8399
222 | M-001 - M-300 |  |  | Exhaust Air Duct 6 x 6 | 12.65 | 10% | 13.915 | LF | 30.9 | 6.696 | 0 | 429.9735 | 93.1748 | 0 | 37.596 | 523.1483
223 | M-001 - M-300 |  |  | Transfer Duct 18 x 12 | 5.45 | 10% | 5.995 | LF | 77.25 | 40.176 | 0 | 463.1138 | 240.8551 | 0 | 117.426 | 703.9689
224 | M-001 - M-300 |  |  | Transfer Duct 16 x 12 | 3.56 | 10% | 3.916 | LF | 72.1 | 35.712 | 0 | 282.3436 | 139.8482 | 0 | 107.812 | 422.1918
225 | M-001 - M-300 |  |  | Transfer Duct 16 x 10 | 4.38 | 10% | 4.818 | LF | 66.95 | 29.76 | 0 | 322.5651 | 143.3837 | 0 | 96.71 | 465.9488
226 | M-001 - M-300 |  |  | Radius Elbow 20 x 12 | 7.38 | 10% | 8.118 | LF | 103.79 | 87.9467 | 0 | 842.5672 | 713.951 | 0 | 191.7367 | 1556.5183
227 | M-001 - M-300 |  |  | Radius Elbow 12 x 6 | 6 | 10% | 6.6 | LF | 58.38 | 49.47 | 0 | 385.308 | 326.502 | 0 | 107.85 | 711.81
228 | M-001 - M-300 |  |  | Radius Elbow 12 x 5 | 2.45 | 10% | 2.695 | LF | 55.14 | 46.7217 | 0 | 148.6023 | 125.9149 | 0 | 101.8617 | 274.5172
229 | M-001 - M-300 |  |  | Radius Elbow 14 x 12 | 3.14 | 10% | 3.454 | LF | 84.33 | 71.4567 | 0 | 291.2758 | 246.8113 | 0 | 155.7867 | 538.0871
HVAC PIPING
230 | M-001 - M-300 |  |  | 3/4" Condensate Drain Line | 38.85 | 10% | 42.735 | LF | 11.81 | 6.02 | 0 | 504.7004 | 257.2647 | 0 | 17.83 | 761.9651
231 | M-001 - M-300 |  |  | 3/4" Refrigerant Liquid Line | 37.51 | 10% | 41.261 | LF | 11.81 | 6.02 | 0 | 487.2924 | 248.3912 | 0 | 17.83 | 735.6836
FIXTURES
232 | M-001 - M-300 |  |  | 24 x24 Access Door | 1 | 0% | 1 | EA | 102.99 | 106.69 | 0 | 102.99 | 106.69 | 0 | 209.68 | 209.68
233 | M-001 - M-300 |  |  | Cord Operated Damper 12 x 5 | 1 | 0% | 1 | EA | 92.69 | 95.99 | 0 | 92.69 | 95.99 | 0 | 188.68 | 188.68
234 | M-001 - M-300 |  |  | Cord Operated Damper 12 x 6 | 5 | 0% | 5 | EA | 111.25 | 115.188 | 0 | 556.25 | 575.94 | 0 | 226.438 | 1132.19
235 | M-001 - M-300 |  |  | Cord Operated Damper 14 x 6 | 4 | 0% | 4 | EA | 129.71 | 134.386 | 0 | 518.84 | 537.544 | 0 | 264.096 | 1056.384
236 | M-001 - M-300 |  |  | Cord Operated Damper 8 x 6 | 1 | 0% | 1 | EA | 74.14 | 76.792 | 0 | 74.14 | 76.792 | 0 | 150.932 | 150.932
237 | M-001 - M-300 |  |  | 5'-0" Supply Plenum, Titus, #FBPI 10 | 8 | 0% | 8 | EA | 217.25 | 224.9875 | 0 | 1738 | 1799.9 | 0 | 442.2375 | 3537.9
238 | M-001 - M-300 |  |  | 4'-0" Supply Plenum, Titus, #FBPI 10 | 1 | 0% | 1 | EA | 174.33 | 179.99 | 0 | 174.33 | 179.99 | 0 | 354.32 | 354.32
239 | M-001 - M-300 |  |  | Return Air Plenum With 1.5" Acoustical Lining W/ Wire Mesh Screen | 1 | 0% | 1 | EA | 181.63 | 185 | 0 | 181.63 | 185 | 0 | 366.63 | 366.63
240 | M-001 - M-300 |  |  | Electric Duct Heater | 1 | 0% | 1 | EA | 778.43 | 914.5 | 0 | 778.43 | 914.5 | 0 | 1692.93 | 1692.93
241 | M-001 - M-300 |  |  | Refill Refrigerant System | 1 | 0% | 1 | EA | 118.66 | 128.95 | 0 | 118.66 | 128.95 | 0 | 247.61 | 247.61
242 | M-001 - M-300 |  |  | Relocate Existing Thermostat | 2 | 0% | 2 | EA | 155.56 | 0 | 0 | 311.12 | 0 | 0 | 155.56 | 311.12
243 | M-001 - M-300 |  |  | FCU-2: Fan Coil Unit | 1 | 0% | 1 | EA | 931.88 | 2171.6 | 0 | 931.88 | 2171.6 | 0 | 3103.48 | 3103.48
244 | M-001 - M-300 |  |  | FCU-3: Fan Coil Unit | 1 | 0% | 1 | EA | 931.88 | 2171.6 | 0 | 931.88 | 2171.6 | 0 | 3103.48 | 3103.48
245 | M-001 - M-300 |  |  | CD-A: Supply Diffuser CFM: 0-200 Mfr./Model: Titus Omni | 2 | 0% | 2 | EA | 154.49 | 160 | 0 | 308.98 | 320 | 0 | 314.49 | 628.98
246 | M-001 - M-300 |  |  | LSD-A, 230 CFM, 5' Total Length Mfr./Model: Titus Fl-10/Fbpi-10 | 1 | 0% | 1 | EA | 177.66 | 184 | 0 | 177.66 | 184 | 0 | 361.66 | 361.66
247 | M-001 - M-300 |  |  | LSD-A, 250 CFM, 5' Total Length Mfr./Model: Titus Fl-10/Fbpi-10 | 2 | 0% | 2 | EA | 193.11 | 200 | 0 | 386.22 | 400 | 0 | 393.11 | 786.22
248 | M-001 - M-300 |  |  | LSD-A, 250 CFM, 18' Total Length Mfr./Model: Titus Fl-10/Fbpi-10 | 1 | 0% | 1 | EA | 193.11 | 200 | 0 | 193.11 | 200 | 0 | 393.11 | 393.11
249 | M-001 - M-300 |  |  | LSD-A, 460 CFM, 12' Total Length Mfr./Model: Titus Fl-10/Fbpi-10 | 1 | 0% | 1 | EA | 310.9 | 322 | 0 | 310.9 | 322 | 0 | 632.9 | 632.9
250 | M-001 - M-300 |  |  | LSD-A, 150 CFM, 4' Total Length Mfr./Model: Titus Fl-10/Fbpi-10 | 1 | 0% | 1 | EA | 115.87 | 120 | 0 | 115.87 | 120 | 0 | 235.87 | 235.87
251 | M-001 - M-300 |  |  | RG-A: Return Grille CFM: 0-1500 Mfr./Model: Titus 350RL | 3 | 0% | 3 | EA | 450.58 | 525 | 0 | 1351.74 | 1575 | 0 | 975.58 | 2926.74
252 | M-001 - M-300 |  |  | RG-B: Exhaust Grille CFM: 0-50 Mfr./Model: Titus 350RL | 1 | 0% | 1 | EA | 38.63 | 40 | 0 | 38.63 | 40 | 0 | 78.63 | 78.63
ALLOWANCES
253 | M-001 - M-300 |  |  | Allowance for condensing piping, commissioning and balancing, supports, hangers & misc., co-ordination with other trades of work and other misc. requirements. -Total Building Area: 2,060 SF | 1 | 0% | 1 | LS | 3093.96 | 1699.5 | 0 | 3093.96 | 1699.5 | 0 | 4793.46 | 4793.46
|  |  |  | HVAC Sub total | [7 empty] | 26918.4678 | 20926.3836 | 0 |  |  | 47844.8514
|  |  | DIVISION- 26 | ELECTRICAL
LIGHTING FIXTURES
254 | E-200 | Schedule |  | Emergency Light Fixture Mfr./Model: LITHONIA LIGHTING ELT1250NY | 4 | 0% | 4 | EA | 181.54 | 232.33 | 0 | 726.16 | 929.32 | 0 | 413.87 | 1655.48
255 | E-200 | Schedule |  | Exit Sign Mfr./Model: LITHONIA LIGHTING EDGRNY W 1 R EL | 3 | 0% | 3 | EA | 270.46 | 426 | 0 | 811.38 | 1278 | 0 | 696.46 | 2089.38
256 | E-200 | Schedule |  | H1: Led Strip Light Mfr./Model: ASPECT LED AL-SL-L95-24-4000-IP20-528 | 25.1 | 10% | 27.61 | LF | 21.98 | 18.64 | 0 | 606.8678 | 514.6504 | 0 | 40.62 | 1121.5182
257 | E-200 | Schedule |  | Light A1: 6' CARGO LED FIXTURE Mfr./Model: LUMINAIRE 6FT-4000 | 15 | 0% | 15 | EA | 241.01 | 352.5 | 0 | 3615.15 | 5287.5 | 0 | 593.51 | 8902.65
258 | E-200 | Schedule |  | Light B1: 4" WAFER LED DOWNLIGHT LITHONIA LIGHTING Mfr./Model: WF4-LED-45K-MV0LT-90CRI-MW | 6 | 0% | 6 | EA | 39.24 | 36.52 | 0 | 235.44 | 219.12 | 0 | 75.76 | 454.56
259 | E-200 | Schedule |  | Light C1: 6" DIAMETER NORTHWEST MODERN PENDANT Mfr./Model: A0049-6"DIA-B0023-10" CEDAR AND MOSS SATIN | 1 | 0% | 1 | EA | 214.1 | 274 | 0 | 214.1 | 274 | 0 | 488.1 | 488.1
260 | E-200 | Schedule |  | Light D1: 4' RECESSED TUNABLE WHITE CEILING MOUNTED LED Mfr./Model: SL2L-LOP-4-FLP-FLNB-80CRI-TUWH-PROR-800 LMF-DARK-120-NLT MARK ARCHITECTURAL LIGHTING | 6 | 0% | 6 | EA | 193.82 | 220.48 | 0 | 1162.92 | 1322.88 | 0 | 414.3 | 2485.8
261 | E-200 | Schedule |  | Light D2: 2 RECESSED TUNABLE WHITE CEILING MOUNTED LED WITH BATTERY BACKUP AND INTEGRAL OCCUPANCY SENSOR. Mfr./Model: MARK ARCHITECTURAL LIGHTING SL2L-LOP-2-FLP-FLNB-80CRI-TUWH-PROR-800 LMF-DARK-120-E10WLCP-NLT-PDT | 7 | 0% | 7 | EA | 34.26 | 31.88 | 0 | 239.82 | 223.16 | 0 | 66.14 | 462.98
262 | E-200 | Schedule |  | Light E1: 36" DIAMETER RECESSED DIRECT LUMINAIRE Mfr./Model: MARK ARCHITECTURAL LIGHTING MGLR-36"-FL-80CR-TUWH-PROR-3000-DARK-FL L-MVOLT-FLT-RALTBD | 1 | 0% | 1 | EA | 193.29 | 179.9 | 0 | 193.29 | 179.9 | 0 | 373.19 | 373.19
263 | E-200 | Schedule |  | Light E2: 18" DIAMETER RECESSED DIRECT LUMINAIRE Mfr./Model: MARK ARCHITECTURAL LIGHTING MGLR-18"-FL-80CR-TUWH-PROR-3000-DARK-FL L-MVOLT-FLT-RALTBD | 2 | 0% | 2 | EA | 96.65 | 89.95 | 0 | 193.3 | 179.9 | 0 | 186.6 | 373.2
264 | E-200 | Schedule |  | Light F1: REDFORD 22 INCH WALL SCONCE Mfr./Model: REGINA ANDREW 15—1045NB | 2 | 0% | 2 | EA | 239.3 | 350 | 0 | 478.6 | 700 | 0 | 589.3 | 1178.6
265 | E-200 | Schedule |  | Light G1: 6" DIAMETER PENDANT LIGHT Mfr./Model: ALCON LIGHTING 1200-6-P-40K-BK-ST2-AG | 1 | 0% | 1 | EA | 273.45 | 399.95 | 0 | 273.45 | 399.95 | 0 | 673.4 | 673.4
LIGHTING CONTROLS
266 | E-200 |  |  | 0-10V Wall Dimmer | 2 | 0% | 2 | EA | 118.43 | 32.09 | 0 | 236.86 | 64.18 | 0 | 150.52 | 301.04
267 | E-200 |  |  | 2 Pole Dimming Switch | 1 | 0% | 1 | EA | 120.87 | 45.97 | 0 | 120.87 | 45.97 | 0 | 166.84 | 166.84
268 | E-200 |  |  | 24 VDC Led Lighting Power Supply | 4 | 0% | 4 | EA | 134.3 | 38.44 | 0 | 537.2 | 153.76 | 0 | 172.74 | 690.96
269 | E-200 |  |  | Combination Occupancy Sensor And Switch | 2 | 0% | 2 | EA | 147.12 | 84.77 | 0 | 294.24 | 169.54 | 0 | 231.89 | 463.78
270 | E-200 |  |  | Motion Sensor | 13 | 0% | 13 | EA | 69.23 | 48.75 | 0 | 899.99 | 633.75 | 0 | 117.98 | 1533.74
271 | E-200 |  |  | Single Pole Dimming Switch | 9 | 0% | 9 | EA | 68.38 | 18.5 | 0 | 615.42 | 166.5 | 0 | 86.88 | 781.92
272 | E-200 |  |  | Vacancy Sensor | 6 | 0% | 6 | EA | 67.15 | 47.16 | 0 | 402.9 | 282.96 | 0 | 114.31 | 685.86
273 | E-200 |  |  | PP-ELV, Power Pack, Electronic Low Voltage Dimming Model, #nSP5 PCD ELV 120 | 2 | 0% | 2 | EA | 199.01 | 255.36 | 0 | 398.02 | 510.72 | 0 | 454.37 | 908.74
274 | E-200 |  |  | PP-OSD, Power Pack 0-10V Dimming Vacancy-Type, #nPP16 D | 1 | 0% | 1 | EA | 134.3 | 141.97 | 0 | 134.3 | 141.97 | 0 | 276.27 | 276.27
275 | E-200 |  |  | PP-VSD, Power Pack 0-10V Dimming Vacancy-Type, #nPP16 D SA | 6 | 0% | 6 | EA | 134.3 | 141.97 | 0 | 805.8 | 851.82 | 0 | 276.27 | 1657.62
RECEPTACLES & DISCONNECT SWITCHES
276 | E-100 |  |  | Duplex Receptacle, 20A,120V | 25 | 0% | 25 | EA | 74.48 | 20.33 | 0 | 1862 | 508.25 | 0 | 94.81 | 2370.25
277 | E-100 |  |  | GFI Duplex Receptacle, 20A,120V | 8 | 0% | 8 | EA | 108.67 | 29.66 | 0 | 869.36 | 237.28 | 0 | 138.33 | 1106.64
278 | E-100 |  |  | Recessed Flush Floor Box With Double Duplex Receptacle | 5 | 0% | 5 | EA | 83.03 | 25.48 | 0 | 415.15 | 127.4 | 0 | 108.51 | 542.55
279 | E-100 |  |  | 15A/2P Non Fused Disconnect Switch | 1 | 0% | 1 | EA | 160.68 | 98.28 | 0 | 160.68 | 98.28 | 0 | 258.96 | 258.96
CIRCUIT BREAKERS
280 | E-300 |  |  | Circuit Breaker 15A/2P | 1 | 0% | 1 | EA | 53.72 | 24 | 0 | 53.72 | 24 | 0 | 77.72 | 77.72
TELECOMMUNICATION DEVICES
281 | E-100 |  |  | Combination Voice/Data Outlet Box | 3 | 0% | 3 | EA | 144.07 | 37.12 | 0 | 432.21 | 111.36 | 0 | 181.19 | 543.57
MISCELLANEOUS
282 | E-100, E-200 |  |  | Junction Box | 2 | 0% | 2 | EA | 62.27 | 17 | 0 | 124.54 | 34 | 0 | 79.27 | 158.54
ALLOWANCE
283 | E-001 - E-500 |  |  | Allowance for wiring, conduits and other misc. electrical requirements. -Total Building Area: 2,060 SF | 1 | 0% | 1 | LS | 19143.72 | 4032 | 0 | 19143.72 | 4032 | 0 | 23175.72 | 23175.72
|  |  |  | Electrical Sub total | [7 empty] | 36257.4578 | 19702.1204 | 0 |  |  | 55959.5782
|  |  |  | UNIT PRICES |  |  |  |  | Unit Price
284 |  | See Bid Form |  | Light fixture A1 (per unit) | 1 | 0% | 1 | LS | 593.51 | 0 | 0 | 593.51 | 0 | 0 | 593.51 | 593.51
285 |  | See Bid Form |  | Light fixture B1 (per unit) | 1 | 0% | 1 | LS | 75.76 | 0 | 0 | 75.76 | 0 | 0 | 75.76 | 75.76
286 |  | See Bid Form |  | Light fixture C1 (per unit) | 1 | 0% | 1 | LS | 488.1 | 0 | 0 | 488.1 | 0 | 0 | 488.1 | 488.1
287 |  | See Bid Form |  | Light fixture D1 (per unit) | 1 | 0% | 1 | LS | 414.3 | 0 | 0 | 414.3 | 0 | 0 | 414.3 | 414.3
288 |  | See Bid Form |  | Light fixture D2 (per unit) | 1 | 0% | 1 | LS | 66.14 | 0 | 0 | 66.14 | 0 | 0 | 66.14 | 66.14
289 |  | See Bid Form |  | Light fixture E1 (per unit) | 1 | 0% | 1 | LS | 373.19 | 0 | 0 | 373.19 | 0 | 0 | 373.19 | 373.19
290 |  | See Bid Form |  | Light fixture E2 (per unit) | 1 | 0% | 1 | LS | 186.6 | 0 | 0 | 186.6 | 0 | 0 | 186.6 | 186.6
291 |  | See Bid Form |  | Light fixture F1 (per unit) | 1 | 0% | 1 | LS | 589.3 | 0 | 0 | 589.3 | 0 | 0 | 589.3 | 589.3
292 |  | See Bid Form |  | Light fixture G1 (per unit) | 1 | 0% | 1 | LS | 673.4 | 0 | 0 | 673.4 | 0 | 0 | 673.4 | 673.4
293 |  | See Bid Form |  | Light fixture H1 (per unit) | 1 | 0% | 1 | LS | 44.682 | 0 | 0 | 44.682 | 0 | 0 | 44.682 | 44.682
|  |  |  | Unit Prices Sub total | [7 empty] | 3504.982 | 0 | 0 |  |  | 3504.982
| TOTAL | [10 empty] | 255410.4838 | 248138.7296 | 0 |  | 503549.2134 | 503549.2134
| OVERHEAD & PROFIT | [9 empty] | 18.5% |  |  |  |  | 93156.6045 | 93156.6045
| TOTAL BASE BID | [14 empty] | 596705.8179 | 596705.8179
Exclusions:
- Anything else not mentioned above

## MATERIAL SUMMARY
MATERIAL SUMMARY
PROJECT | BROOKLYN SOCIETY FOR ETHICAL CULTURE
ADDRESS | 265 4TH AVENUE BROOKLYN, NY 11215
SR # | DESCRIPTION | QTY. | WASTE | QTY. W/ WASTE | UNIT
1 | New 9"x3'-7 1/2" Stair Tread | 14 | 0% | 14 | EA
2 | New Metal Handrails | 25.3 | 10% | 27.83 | LF
3 | Box Headers | 31.97 | 10% | 35.167 | LF
4 | 8'-0" 3 5/8"Metal King Studs | 8 | 0% | 8 | EA
5 | 10'-0" 3 5/8"Metal King Studs | 6 | 0% | 6 | EA
6 | 7'-0" 3 5/8"Metal Jack Studs | 14 | 0% | 14 | EA
7 | 1'-3" Deep X 3"-3" High, Upper Cabinet | 2.66 | 10% | 2.926 | LF
8 | 2'-0" Deep X 2'-7" High, Base Cabinet | 2.68 | 10% | 2.948 | LF
9 | 2'-6" Deep X 3'-0" High, Base Cabinet | 3.22 | 10% | 3.542 | LF
10 | 2'-0" Deep X 3'-0" High, Base Cabinet W/- Oak Veneer Core Plywood | 5.62 | 10% | 6.182 | LF
11 | 1'-3" Deep X 5'-5" High, Cabinet | 2.65 | 10% | 2.915 | LF
12 | 1'-6" Deep Base Cabinet | 1.67 | 10% | 1.837 | LF
13 | White Oak Wood Wainscot | 396.3 | 10% | 435.93 | SF
14 | 2'-0" Deep X 4'-0" High Adjustable Shelf W/- Integrated Under Cabinet Lighting Strip | 8.6 | 10% | 9.46 | LF
15 | 2'-3" Deep X 1'-10" Fixed Brass Open Shelves W/- Integrated Under Cabinet Lighting Strip | 3.22 | 10% | 3.22 | LF
16 | 2'-0" Deep X 3'-0" High Shelf On Drawer Slides base Cabinet | 3.1 | 10% | 3.41 | LF
17 | 1'-4" Deep X 3'-6" High Built-In Filing Cabinet In Oak Wood Veneer | 6.26 | 10% | 6.886 | LF
18 | 2'-6" X 7'-0" Library Table Storage Built-In, Painted Wood Cabinet Doors, Heavy Duty Cabinet Door Stop With Piston Rod Fro Secure Support. | 15.51 | 10% | 17.061 | LF
19 | 2'-0" Deep X 3'-0" High, Shelf On Drawer Slides | 2.98 | 10% | 3.278 | LF
20 | 2'-4" Deep X 2'-2" High Adjustable Shelf | 3.22 | 10% | 3.542 | LF
21 | 1'-10" Deep X 4'-0" High Adjustable Shelf | 5.14 | 0% | 5.14 | LF
22 | 2'-0" Deep X 3'-0" High Shelf On Drawer Slides | 5.15 | 10% | 5.665 | LF
23 | 1'-6" Deep X 5'-8" High, Built-In Bookshelf | 23.74 | 10% | 23.74 | LF
24 | 2'-0" Deep X 5'-6" High, Adjustable Shelves | 24.45 | 10% | 26.895 | LF
25 | 2'-6" Deep X 5'-6" High, Adjustable Shelves | 14.76 | 10% | 16.236 | LF
26 | 2'-5" Deep X 3"-0" High, Microwave Drawer Opening | 3.73 | 10% | 4.103 | LF
27 | 2'-0" Deep X 1'-6" High Built-In White Oak Veneer Bench | 4.88 | 10% | 5.368 | LF
28 | 1'-0" Deep X 6'-10" High Wall Mounted Fixed Shelves | 8.92 | 10% | 9.812 | LF
29 | 1'-4" Deep X 1'-6" High Built-In White Oak Veneer Bench | 1.95 | 10% | 2.145 | LF
30 | 2'-6" Deep X 2'-7" High, New Built-In Work Bench | 6.27 | 10% | 6.27 | LF
31 | 2'-0" Deep Plywood Substrate For Laminate Surface | 7.09 | 10% | 7.799 | LF
32 | Solid Wood Edge With 1/4" Radius | 39.35 | 10% | 43.285 | LF
33 | Bracket Support | 3 | 0% | 3 | EA
34 | Grommet | 1 | 0% | 1 | EA
35 | 2 x 4 Wood Blocking | 138 | 10% | 151.8 | LF
36 | 101, 3'-0" x 6'-8" Solid Swing Wood Door with Vision Panel and Side Light, Frame: Wood, Finish: Oak | 1 | 0% | 1 | EA
37 | 102, 3'-0" x 6'-8" Solid Swing Wood Door with Vision Panel and Side Light, Frame: Wood, Finish: Oak | 1 | 0% | 1 | EA
38 | 104, 3'-8" x 6'-8" Solid Swing Wood Door with Vision Panel and Side Light, Frame: Wood, Finish: Oak | 1 | 0% | 1 | EA
39 | 105, 3'-8" x 6'-8" Solid Swing Wood Door, Frame: Wood | 1 | 0% | 1 | EA
40 | 106, 3'-0" x 6'-8" Flush Pocket Door Veneer Door, Frame: Wood, Finish: Oak | 1 | 0% | 1 | EA
41 | C02, 2'-10" x 6'-8" Hollow Metal Double Door, Frame: Metal | 1 | 0% | 1 | EA
42 | C03, 2'-10" x 6'-8" Hollow Metal Double Door, Frame: Metal | 1 | 0% | 1 | EA
43 | C04, 2'-10" x 6'-8" Hollow Metal Double Door, Frame: Metal | 1 | 0% | 1 | EA
44 | C05, 2'-10" x 6'-8" Hollow Metal Double Door, Frame: Metal | 1 | 0% | 1 | EA
45 | C01, 3'-0" x 6'-8" Metal Door, Frame: Metal | 1 | 0% | 1 | EA
46 | 103, 3'-0" x 6'-8" Swing Wood Veneer Flush Door, Frame: Wood, Finish: Oak | 1 | 0% | 1 | EA
47 | Hardware Set-1: - 4.5x4.5 Hinge (3 EA) - Office w/s/m retract (1 EA) - FSIC Core (1 EA) - Surface Closer (1 EA) - Wall Stop (1 EA) - Silencer (3 EA) | 4 | 0% | 4 | EA
48 | Hardware Set-2: - 4.5x4.5 Hinge (3 EA) - Storeroom Lock (1 EA) - FSIC Core (1 EA) - Silencer (3 EA) | 4 | 0% | 4 | EA
49 | Hardware Set-3: - 4.5x4.5 Hinge (3 EA) - Privacy Lock w/ Outside Indicator (1 EA) - Surface Closer (1 EA) - Wall Stop (1 EA) - Silencer (3 EA) | 2 | 0% | 2 | EA
50 | Hardware Set-4: - Rectangle Pull (1 EA) - Edge Pull (1 EA) - Latches (1 EA) - Pocket Door (1 EA) | 1 | 0% | 1 | EA
51 | Ceramic Quarry Floor Tile Size: 6x6 Color: Raven Gray | 424.8 | 10% | 467.28 | SF
52 | Wood Matt Porcelain Tile Flooring Size: 8x8x48 Color: Tile Bar Oak Natural Ash Beige | 723.4 | 10% | 795.74 | SF
53 | Nemo Tile Dash Pine Flooring Size: 6x6 | 371.4 | 10% | 408.54 | SF
54 | 18" X 18" Tile Flooring | 165 | 10% | 181.5 | SF
55 | Nemo Tile Dash Solid State Size: 6" X 6" | 736.3 | 10% | 809.93 | SF
56 | Ceramic Quarry Tile Cove Base Size: 6x6 Color: Raven Gray | 131 | 10% | 144.1 | LF
57 | Nemo Tile Base | 78.7 | 10% | 86.57 | LF
58 | Transition Nemo Tile- TO-Tile Flooring | 60 | 10% | 66 | LF
59 | Transition Nemo Tile-TO-Wood Mate Tile | 85 | 10% | 93.5 | LF
60 | Transition Wood Mate Tile-TO-Carpet Tile | 7 | 10% | 7.7 | LF
61 | 5/8'' Gypsum Board | 2130 | 10% | 2343 | SF
| 4'x8' GB Sheet |  |  | 74 | Sheets
| 500' Tape Roll |  |  | 4 | Rolls
| Joint Compound |  |  | 12 | Gallons
| 1-1/4" Drywall Screws |  |  | 13 | Pounds
62 | 5/8'' Moisture Resistant Board | 43 | 10% | 47.3 | SF
| 4'x8' GB Sheet |  |  | 2 | Sheets
| 500' Tape Roll |  |  | 1 | Rolls
| Joint Compound |  |  | 1 | Gallons
| 1-1/4" Drywall Screws |  |  | 1 | Pounds
63 | 5/8'' Cement-Based Tile Backer Board | 216 | 10% | 237.6 | SF
| 4'x8' GB Sheet |  |  | 8 | Sheets
| 500' Tape Roll |  |  | 1 | Rolls
| Joint Compound |  |  | 2 | Gallons
| 1-1/4" Drywall Screws |  |  | 2 | Pounds
64 | Sealant @ Top and Bottom | 531 | 10% | 584.1 | LF
65 | 2 1/2'' 20 GA. Metal Studs @ 16'' O.C. | 489 | 10% | 537.9 | SF
66 | 2 1/2'' 20 GA. Metal Runner Track @ Top & Bottom | 115 | 10% | 126.5 | LF
67 | 3 5/8'' 20 GA. Metal Studs @ 16'' O.C. | 683 | 10% | 751.3 | SF
68 | 3 5/8'' 20 GA. Metal Runner Track @ Top & Bottom | 137 | 10% | 150.7 | LF
69 | 6'' 20 GA. Metal Studs @ 16'' O.C. | 105 | 10% | 115.5 | SF
70 | 6" 20 GA. Metal Runner Track @ Top & Bottom | 21 | 10% | 23.1 | LF
71 | 7/8'' 20 GA. Metal Furring @ 24'' O.C. | 73 | 10% | 80.3 | SF
72 | Sound Attenuating Blanket | 1134 | 10% | 1247.4 | SF
73 | 4 Mil Polyethylene Film | 143 | 10% | 157.3 | SF
74 | Carpet Tile Flooring Size: 24x24 Color: Mohawk Group Chromatic Cadence BT596 | 97.8 | 10% | 107.58 | SF
75 | Rubber Wall Base | 35 | 10% | 38.5 | LF
76 | CL-1 18mm Thk, 8"Space Baffle Ceiling w/ Suspension System Manufacture: Akustus Model: Billow Baffle Size: 15' Length Color: Moss | 135.1 | 10% | 148.61 | SF
77 | CL-2 60mm Thk, 8 LED Baffle Ceiling w/ suspension system Manufacture: Akustus Model: Cargo Led Baffle Size: 15' Length Color: Midnight Blue | 264.2 | 10% | 290.62 | SF
78 | CL-3 60mm Thk, 8 LED Baffle Ceiling w/ suspension system Manufacture: Akustus Model: Cargo Led Baffle Size: 15' Length Color: Sunflower | 223.7 | 10% | 246.07 | SF
79 | White Oak Wood Wainscot Height: 3'6"H | 396.3 | 10% | 435.93 | SF
80 | Vinyl Tread floor finish to match kitchen Floor | 28.1 | 10% | 30.91 | SF
81 | Vinyl Wall Base | 15.2 | 10% | 16.72 | LF
82 | Paint @ GWB Walls | 3743 | 10% | 4117.3 | SF
83 | Paint @ GWB Ceiling | 1708 | 10% | 1878.8 | SF
84 | Paint @ Doors | 6 | 0% | 6 | EA
85 | AC-6: Moss Feature Wall System Mfr: Green Oasis Model: Feature Wall-00 Size: 4'11"Hx5'11"W Color/ Finish: Moss | 30 | 10% | 33 | SF
86 | 8"x10"Acrylic Plate Interior Signage plate | 2 | 0% | 2 | EA
87 | 1'2"x2"Acrylic Plate Interior Signage plate | 1 | 0% | 1 | EA
88 | 0'10"x2"Acrylic Plate Interior Signage plate | 2 | 0% | 2 | EA
89 | 5'-5"x3" X 0'-3", BSEC Signage | 1 | 0% | 1 | EA
90 | AC-3: Wall mtd Arched Mirror Mfr: REJUVENATION Model: Arched Mirror Size: 24"Wx40"H Finish: Aged Brass | 1 | 0% | 1 | EA
91 | AC-4: Toilet Tissue Holder Mfr: Bobrick Model: B-9882 Size: 9"Wx8"H Finish: White | 1 | 0% | 1 | EA
92 | AC-5: Paper Towel Dispenser Mfr: American Specialties Model: 6467-00 Size: 55"Wx13"H Finish: White | 1 | 0% | 1 | EA
93 | AC-2: Acoustic Seal encore Series paired Folding Panel System Mfr: Modern Fold Model: Paired Panel | 11 | 10% | 12.1 | SF
94 | 2x10 Wood Blocking over Partition Track | 24 | 10% | 26.4 | LF
95 | AP-1: Drawer Microwave, 24" Mfr: Fisher & Paykel Model: OMD24SDB1 Size: 24"Wx16"H Color: Black | 1 | 0% | 1 | EA
96 | AP-2: 30"Series 11 Integrated Refrigerator Freezer, Ice & water Mfr: Fisher & Paykel Model: RS3084WRUEI Size: 84"Hx30"Wx24"D Color: White Oak | 1 | 0% | 1 | EA
97 | AP-3: Bottom Freezer Refrigerator Mfr: LG Model: LBNC15231V Size: 67"Hx28"Wx28"D Color: Stainless Steel | 1 | 0% | 1 | EA
98 | AP-4: Washer & Dryer Mfr: LG Model: WKHC252H-A Size: 75"Hx27"Wx33"D Color: Black Steel | 1 | 0% | 1 | EA
99 | F-1: Conference Chair Mfr: Herman Miller Model: Eames Soft Color/ Finish: Mode Goldenrod | 14 | 0% | 14 | EA
100 | F-2: Conference Tables Mfr: Hive Model: Tables 82B Size: 53"Lx33"Dx29"H Color/ Finish: Birch Veneer | 7 | 0% | 7 | EA
101 | F-3: Credenza Mfr: Article Model: Lenia Size: 71"Lx19"Dx30"H Color/ Finish: White Oak | 1 | 0% | 1 | EA
102 | F-4: Lounge Chair Mfr: Hive Model: Tank Chair Size: 30"Lx30"Dx26"H Color/ Finish: Natural Lacquered Armrests | 2 | 0% | 2 | EA
103 | F-5: Side Table Mfr: Hive Model: Table 90B Size: 29"Diax29"H Color/ Finish: Birch | 1 | 0% | 1 | EA
104 | F-6: Round Folding Table Mfr: School Outfitters Model: Round Max Color/ Finish: White Top w/Black Legs | 5 | 0% | 5 | EA
105 | AC-1: Brilliance Glass Dry Erase Board Large White Board Mfr: Quartet Model: G29648W Size: 8'x4 Color: Glass | 96 | 10% | 105.6 | SF
106 | Combination of white & tack board @ Built-in Bench | 20 | 10% | 22 | SF
107 | Laminated Surface countertop over - Plywood | 42 | 10% | 46.2 | SF
108 | Brassed Surface countertop over - Plywood | 70 | 10% | 77 | SF