## PRICE SUMMARY
|  | PRICE SUMMARY | [5 empty] | Rev0 BE PR 12514
PROJECT |  | NORTH APRON EXPANSION CLARKSDALE-COAHOMA COUNTY AIRPORT
ADDRESS |  | COAHOMA COUNTY AIRPORT CLARKSDALE, MISSISSIPP
BUILDING
Sr # | DESCRIPTION |  |  | LABOR W/O O&P | MATERIAL W/O O&P | TOTAL SUB CONTRACTOR | Total W/O O&P | TOTAL INCLUDING O&P
1 | Contractor Quality Control Program |  |  | 55000 | 0 | 0 | 55000 | 74250
2 | Mobilization |  |  | 75000 | 0 | 0 | 75000 | 101250
3 | Installation And Removal Of Site Fence |  |  | 2090 | 3080 | 0 | 5170 | 6979.5
4 | Construction Entrance |  |  | 1311.5667 | 1980.7333 | 0 | 3292.3 | 4444.605
5 | Concrete Washout & Cleanup |  |  | 1500 | 500 | 0 | 2000 | 2700
6 | Construction Joint Preparation |  |  | 1122 | 786.5 | 0 | 1908.5 | 2576.475
7 | Unclassified Excavation |  |  | 45519.263 | 0 | 0 | 45519.263 | 61451.005
8 | Subgrade Preparation |  |  | 26487.12 | 0 | 0 | 26487.12 | 35757.612
9 | Undercut And Related Backfill |  |  | 24684 | 0 | 0 | 24684 | 33323.4
10 | Geotextile Fabric |  |  | 2019.6 | 3029.4 | 0 | 5049 | 6816.15
11 | Lime Subgrade |  |  | 17780.7056 | 34335.1556 | 0 | 52115.8611 | 70356.4125
12 | Lime |  |  | 1936 | 8800 | 0 | 10736 | 14493.6
13 | Aggregate Base |  |  | 7235.8 | 15267.538 | 0 | 22503.338 | 30379.5063
14 | Pcc Pavement |  |  | 76016.2165 | 108767.7096 | 0 | 184783.9261 | 249458.3002
15 | Rcc Pavement |  |  | 794.4275 | 1094.2249 | 0 | 1888.6523 | 2549.6806
16 | Pavement Marking |  |  | 1389.96 | 1081.08 | 0 | 2471.04 | 3335.904
17 | Tie-Downs |  |  | 315 | 135 | 0 | 450 | 607.5
18 | Seeding |  |  | 0 | 0 | 0 | 0 | 0
19 | Sod |  |  | 0 | 0 | 0 | 0 | 0
20 | Topsoil |  |  | 0 | 0 | 0 | 0 | 0
21 | Mulching |  |  | 0 | 0 | 0 | 0 | 0
22 | Electrical Demolition |  |  | 6578.76 | 0 | 0 | 6578.76 | 8881.326
23 | Trenching For Conduit |  |  | 8351.4651 | 214.7629 | 0 | 8566.228 | 11564.4078
24 | Electrical Cable Install In Ductbank Or Conduit |  |  | 0 | 0 | 0 | 0 | 0
25 | Electrical Cable Install In Trench |  |  | 0 | 0 | 0 | 0 | 0
26 | Bare Counterpoise Wire |  |  | 0 | 0 | 0 | 0 | 0
26 | Electrical Conduit I way 4 |  |  | 0 | 0 | 0 | 0 | 0
27 | Electrical Handhole |  |  | 0 | 0 | 0 | 0 | 0
28 | Taxiway Light |  |  | 1000 | 450 | 0 | 1450 | 1957.5
29 | Construction Safety & Maintence Of Traffic |  |  | 0 | 0 | 0 | 0 | 0
SUB TOTAL |  |  |  | 356131.8842 | 179522.1043 | 0 | 535653.9885 | 723132.8844
OVER HEAD & PROFIT (O&P) |  |  | 35% |  |  | 0 | 187478.896
LABOR BURDEN |  |  | 10% |  |  | 0 | 35613.1884
TOTAL BASE BID | [5 empty] | 0 | 758746.0729
Please see next tab for detailed estimate

## DETAILED ESTIMATE
PROJECT |  | NORTH APRON EXPANSION CLARKSDALE-COAHOMA COUNTY AIRPORT | [14 empty] | Rev0 BE PR 12514
ADDRESS |  | COAHOMA COUNTY AIRPORT CLARKSDALE, MISSISSIPP
Date of plans |  | 2023-04-13 | [5 empty] | Please confirm inclusion in scope
Date of Submission |  | 2023-05-08 | [5 empty] | Please Confirm/Add price
Base Bid |  | 758746.0729 | [5 empty] | Items not given in bid form but included in takeoffs as per plans
SR # | DWG. NO. | DETAIL NO. | CSI NO. | DESCRIPTION | QTY | WASTE | QTY. W/ WASTE | UNIT | LABOR/EQUIPMENT COST | MATERIAL COST | SUBCONTRACTOR COST | TOTAL LABOR | TOTAL MATERIAL | TOTAL SUB CONTRACTOR | TOTAL UNIT COST | TOTAL COST | Sub Total | MATERIAL TOTAL
| ITEM #C-100 |  |  | CONTRACTOR QUALITY CONTROL PROGRAM
1 |  |  |  | Contractor Quality Control Program (CQCP) | 1 | 0% | 1 | LS | 55000 | 0 | 0 | 55000 | 0 | 0 | 55000 | 55000
|  |  |  | CONTRACTOR QUALITY CONTROL PROGRAM Sub-Total | [7 empty] | 55000 | 0 | 0 |  |  | 55000 |  | 0
| ITEM #C-105 |  |  | MOBILIZATION
2 |  |  |  | Mobilization | 1 | 0% | 1 | LS | 75000 | 0 | 0 | 75000 | 0 | 0 | 75000 | 75000
|  |  |  | MOBILIZATION Sub-Total | [7 empty] | 75000 | 0 | 0 |  |  | 75000 |  | 0
| ITEM #C-102-5.1 |  |  | INSTALLATION AND REMOVAL OF SITE FENCE
3 | C3.0 | C7.1 |  | Silt Fence: -Woven Wire Mesh Covered With Geotextile -4" Steel Drive Post | 500 | 10% | 550 | LF | 3.8 | 5.6 | 0 | 2090 | 3080 | 0 | 9.4 | 5170 |  | 3080
|  |  |  | INSTALLATION AND REMOVAL OF SITE FENCE Sub-Total | [7 empty] | 2090 | 3080 | 0 |  |  | 5170 |  | 0
| ITEM #C-102-5.2 |  |  | CONSTRUCTION ENTRANCE
4 | C3.0 | C7.1 | 16.2222 | Stone Construction Entrance: - 6" Coarse aggregate - Geotextile underline | 97.3333 | 10% | 107.0667 | SY | 12.25 | 18.5 | 0 | 1311.5667 | 1980.7333 | 0 | 30.75 | 3292.3 |  | 1980.7333
|  |  |  | CONSTRUCTION ENTRANCE Sub-Total | [7 empty] | 1311.5667 | 1980.7333 | 0 |  |  | 3292.3 |  | 0
| ITEM #C-102-5.3 |  |  | CONCRETE WASHOUT & CLEANUP
5 | C3.0 | C7.1 |  | Concrete Washout & Cleanup | 1 | 0% | 1 | EA | 1500 | 500 | 0 | 1500 | 500 | 0 | 2000 | 2000 |  | 500
|  |  |  | CONCRETE WASHOUT & CLEANUP Sub-Total | [7 empty] | 1500 | 500 | 0 |  |  | 2000 |  | 0
| ITEM #P-101-5.1 |  |  | CONSTRUCTION JOINT PREPARATION
6 | C3.0 | Spec. 101-3 /P-101-1 |  | Isolation Joint Between Existing Pavement And New PCC Pavement. | 325 | 10% | 357.5 | LF | 1.8 | 1.6 | 0 | 643.5 | 572 | 0 | 3.4 | 1215.5 |  | 572
7 | C3.0 | Spec. 101-3 /P-101-1 |  | Existing Pavement to be full depth Sawcut, Removing & disposing material and cleaning existing PCC pavement Faces Prior to Isolation Joint Installation. | 75 | 10% | 82.5 | LF | 5.8 | 2.6 | 0 | 478.5 | 214.5 | 0 | 8.4 | 693 |  | 214.5
|  |  |  | CONSTRUCTION JOINT PREPARATION Sub-Total | [7 empty] | 1122 | 786.5 | 0 |  |  | 1908.5 |  | 0
| ITEM #P-152-4.1 |  |  | UNCLASSIFIED EXCAVATION
8 | C3.0 | C2.0 |  | Unclassified Excavation Note: Excavation for proposed apron pavement is approx. 1217 CY whereas given quantity is 800 CY. We have used higher quantity. Please verify in field | 1217.0926 | 10% | 1338.8019 | CY | 34 | 0 | 0 | 45519.263 | 0 | 0 | 34 | 45519.263 |  | 0
|  |  |  | UNCLASSIFIED EXCAVATION Sub-Total | [7 empty] | 45519.263 | 0 | 0 |  |  | 45519.263 |  | 0
| ITEM #P-152-4.2 |  |  | SUBGRADE PREPARATION
9 | C2.0 | Spec. 152-3.3 /P-152-7 |  | Preparation Of Existing Subgrade (Scarfing, Compacting & Proof rolling) | 2229.5556 | 10% | 2452.5111 | SY | 10.8 | 0 | 0 | 26487.12 | 0 | 0 | 10.8 | 26487.12 |  | 0
|  |  |  | SUBGRADE PREPARATION Sub-Total | [7 empty] | 26487.12 | 0 | 0 |  |  | 26487.12 |  | 0
| ITEM #P-152-4.3 |  |  | UNDERCUT AND RELATED BACKFILL
10 | C2.0 |  |  | Undercut And Related Backfill (3' Depth) Note: This quantity is not found on the plans and therefore, the quantity given in the bid form is used. Please verify in field | 340 | 10% | 374 | CY | 66 | 0 | 0 | 24684 | 0 | 0 | 66 | 24684 |  | 0
|  |  |  | UNDERCUT AND RELATED BACKFILL Sub-Total | [7 empty] | 24684 | 0 | 0 |  |  | 24684 |  | 0
| ITEM #P-152-4.4 |  |  | GEOTEXTILE FABRIC
11 | C2.0 |  |  | Geotextile Fabric For Undercut Area Note: This quantity is not found on the plans and therefore, the quantity given in the bid form is used. Please verify in field | 340 | 10% | 374 | SY | 5.4 | 8.1 | 0 | 2019.6 | 3029.4 | 0 | 13.5 | 5049 |  | 3029.4
|  |  |  | GEOTEXTILE FABRIC Sub-Total | [7 empty] | 2019.6 | 3029.4 | 0 |  |  | 5049 |  | 0
| ITEM #P-155-8.1 |  |  | LIME SUBGRADE
12 | C2.0 | Legend 6/C2.0 | 743.1852 | Lime-treated Subgrade (12" Thickness) | 2229.5556 | 10% | 2452.5111 | SY | 7.25 | 14 | 0 | 17780.7056 | 34335.1556 | 0 | 21.25 | 52115.8611 |  | 34335.1556
|  |  |  | LIME SUBGRADE Sub-Total | [7 empty] | 17780.7056 | 34335.1556 | 0 |  |  | 52115.8611 |  | 0
| ITEM #P-155-8.2 |  |  | LIME
13 | C2.0 |  |  | Lime - Applied @ 6% dry unit weight of soil - Soil density; 120 lb/cu. ft assumed - Depth: 12" Note: Quantity of lime stabilization in bid form is 80 tons. Whereas, as per our calculations it is 72 ton. We have used higher quantity. Please verify in field | 80 | 10% | 88 | TON | 22 | 100 | 0 | 1936 | 8800 | 0 | 122 | 10736 |  | 8800
|  |  |  | LIME Sub-Total | [7 empty] | 1936 | 8800 | 0 |  |  | 10736 |  | 0
| ITEM #P-209-5.1 |  |  | CRUSHED AGGREGATE BASE
14 | C2.0 | Legend 2/C2.0 | 401.9889 | Crushed Stone Aggregate Base Course (6" Thickness) | 2192.6667 | 10% | 2411.9333 | SY | 3 | 6.33 | 0 | 7235.8 | 15267.538 | 0 | 9.33 | 22503.338 |  | 15267.538
|  |  |  | AGGREGATE BASE Sub-Total | [7 empty] | 7235.8 | 15267.538 | 0 |  |  | 22503.338 |  | 0
| ITEM #P-501-8.1 |  |  | PCC PAVEMENT
15 | C2.0 | Legend 2/C2.0 | 607.7867 | Plain Cement Concrete PCC Pavement (9.5" Thickness) | 2072 | 10% | 2279.2 | SY | 24.1667 | 44 | 0 | 55080.6667 | 100284.8 | 0 | 68.1667 | 155365.4667 |  | 100284.8
16 | C2.0 | C7.0 |  | Dowelled Construction Joint (1" Steek Dowel L=19") | 1250.34 | 10% | 1375.374 | LF | 6.2 | 2.4 | 0 | 8527.3188 | 3300.8976 | 0 | 8.6 | 11828.2164 |  | 3300.8976
17 | C2.0 | C7.0 |  | Dowelled Contraction Joint (1" Steek Dowel L=19") | 1424.55 | 10% | 1567.005 | LF | 6.2 | 2.4 | 0 | 9715.431 | 3760.812 | 0 | 8.6 | 13476.243 |  | 3760.812
18 | C2.0 |  |  | 10" Edge Form | 680 | 10% | 748 | LF | 3.6 | 1.9 | 0 | 2692.8 | 1421.2 | 0 | 5.5 | 4114 |  | 1421.2
|  |  |  | PCC PAVEMENT Sub-Total | [7 empty] | 76016.2165 | 108767.7096 | 0 |  |  | 184783.9261 |  | 0
| ITEM #P-501-8.2 |  |  | RCC PAVEMENT
19 | C2.0 | Legend 2/C2.0 | 5.1496 | Reinforced PCC Pavement (9.5" Thickness) | 17.5556 | 10% | 19.3111 | SY | 24.1667 | 44 | 0 | 466.6852 | 849.6889 | 0 | 68.1667 | 1316.3741 |  | 849.6889
20 | C2.0 | C7.0 |  | #3 @ 12" O.C Bars EW | 142.5792 | 10% | 156.8371 | LB | 0.6 | 0.7 | 0 | 94.1023 | 109.786 | 0 | 1.3 | 203.8883 |  | 109.786
21 | C2.0 | C7.0 |  | Isolation Joint | 16 | 10% | 17.6 | LF | 1.8 | 1.6 | 0 | 31.68 | 28.16 | 0 | 3.4 | 59.84 |  | 28.16
22 | C2.0 |  |  | 10" Edge Form | 51 | 10% | 56.1 | LF | 3.6 | 1.9 | 0 | 201.96 | 106.59 | 0 | 5.5 | 308.55 |  | 106.59
|  |  |  | RCC PAVEMENT Sub-Total | [7 empty] | 794.4275 | 1094.2249 | 0 |  |  | 1888.6523 |  | 0
| ITEM #P-620-5.1 |  |  | PAVEMENT MARKING
23 | C2.0 | Legend 2/C2.0 |  | 6" Yellow Paint Parking Strips | 702 | 10% | 772.2 | LF | 1.8 | 1.4 | 0 | 1389.96 | 1081.08 | 0 | 3.2 | 2471.04 |  | 1081.08
|  |  |  | PAVEMENT MARKING Sub-Total | [7 empty] | 1389.96 | 1081.08 | 0 |  |  | 2471.04 |  | 0
| ITEM #P-620-5.2 |  |  | TIE-DOWNS
24 | C6.0 | C7.1 |  | Aircraft Tie Downs | 9 | 0% | 9 | EA | 35 | 15 | 0 | 315 | 135 | 0 | 50 | 450 |  | 135
|  |  |  | TIE-DOWNS Sub-Total | [7 empty] | 315 | 135 | 0 |  |  | 450 |  | 0
| ITEM #T-901-5.1 |  |  | SEEDING
25 | C2.0 | Legend 9/C2.0 |  | Seeding Note: Quantity of seeding as per bid form is 510 SY. Whereas, our quantity is 615 SY. Please verify in field | 614.7778 | 10% | 676.2556 | SY | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  |  | SEEDING Sub-Total | [7 empty] | 0 | 0 | 0 |  |  | 0 |  | 0
| ITEM #T-904-5.1 |  |  | SOD
26 | C2.0 | Legend 7/C2.0 |  | SOD Note: Quantity of sod as per bid form is 370 SY. Whereas, our quantity is 361 SY. Therefore, we have used higher quantity. Please verify in field | 370 | 10% | 407 | SY | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  |  | SOD Sub-Total | [7 empty] | 0 | 0 | 0 |  |  | 0 |  | 0
| ITEM #T-905-5.1 |  |  | TOPSOIL
27 |  |  |  | Topsoil (Obtained On Site Or Removed From Stockpile) Note: We have assumed 6" topsoil spread for seeding/ sod areas. Quantity given on bid form is 100 CY. Please verify in field | 164 | 10% | 180.4 | CY | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  |  | TOPSOIL Sub-Total | [7 empty] | 0 | 0 | 0 |  |  | 0 |  | 0
| ITEM #T-908-5.1 |  |  | MULCHING
28 | C2.0 | C7.1 |  | Mulching Note: Quantity of mulching as per bid form is 510 SY. Whereas, our quantity is 615 SY. Please verify in field | 614.7778 | 10% | 676.2556 | SY | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  |  | MULCHING Sub-Total | [7 empty] | 0 | 0 | 0 |  |  | 0 |  | 0
| ITEM #TS-102-4.1 |  |  | ELECTRICAL DEMOLITION
29 | E2.0 | Legend/E1.0 |  | Remove Taxi Light And Store | 2 | 0% | 2 | EA | 500 | 0 | 0 | 1000 | 0 | 0 | 500 | 1000 |  | 0
30 | E2.0 | Legend/E1.0 |  | Remove Taxiway And Runway Circuit From Exist Conduit | 65.41 | 0% | 65.41 | LF | 16 | 0 | 0 | 1046.56 | 0 | 0 | 16 | 1046.56 |  | 0
31 | E2.0 | Legend/E1.0 |  | Remove Taxiway Circuit | 101.61 | 0% | 101.61 | LF | 20 | 0 | 0 | 2032.2 | 0 | 0 | 20 | 2032.2 |  | 0
32 | E2.0 |  |  | Demolition of existing airport lighting fixtures, transformers, conductors, conduit, concrete foundations and all miscellaneous electrical Items | 1 | 0% | 1 | LS | 2500 | 0 | 0 | 2500 | 0 | 0 | 2500 | 2500 |  | 0
|  |  |  | ELECTRICAL DEMOLITION Sub-Total | [7 empty] | 6578.76 | 0 | 0 |  |  | 6578.76 |  | 0
| ITEM #L-108-5.1 |  |  | TRENCHING FOR CONDUIT
33 | E2.0 |  |  | Trenching For Conduit Or direct Buried Cable Note: Quantity per bid form is 240 LF. Whereas, our quantity is 248 LF. Please verify in field | 247.75 | 10% | 272.525 | LF | 30 | 0 | 0 | 8175.75 | 0 | 0 | 30 | 8175.75 |  | 0
34 |  |  | For reference only | Excavation (Avg: 2'-0") | 13.1111 | 10% | 14.4222 | CY | [9 empty] | 0
35 |  |  | For reference only | Gravel Around Cable | 5.4082 | 10% | 5.949 | CY | [9 empty] | 0
36 |  |  | For reference only | Backfill | 7.67 | 10% | 8.437 | CY | [9 empty] | 0
37 | E2.0 | E4.0 |  | Detectable Wiring Tape | 177.49 | 10% | 195.239 | LF | 0.9 | 1.1 | 0 | 175.7151 | 214.7629 | 0 | 2 | 390.478 |  | 214.7629
|  |  |  | TRENCHING FOR CONDUIT Sub-Total | [7 empty] | 8351.4651 | 214.7629 | 0 |  |  | 8566.228 |  | 0
| ITEM #L-108-5.2 |  |  | ELECTRICAL CABLE INSTALL IN DUCTBANK OR CONDUIT
38 | E2.0 | E4.0 |  | #8 AWG, 5kV, L-824, Type C Cable, Installed In Existing Conduit Note: Quantity as per plans is 249LF whereas quantity as per bid form is 300 LF. WE have used higher quantity. Please verify in field | 300 | 10% | 330 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  |  | ELECTRICAL CABLE INSTALL IN DUCTBANK OR CONDUIT Sub-Total | [7 empty] | 0 | 0 | 0 |  |  | 0 |  | 0
| ITEM #L-108-5.3 |  |  | ELECTRICAL CABLE INSTALL IN TRENCH
39 | E2.0 | E4.0 |  | #8 AWG, 5kV, L-824, Type C Cable, Installed In trench Note: Quantity per bid form is 150 LF. Whereas, our quantity is 177 LF. Please verify in field | 177.49 | 10% | 195.239 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
40 | E2.0 | E4.0 |  | Install splice marked where runway circuits are spliced | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  |  | ELECTRICAL CABLE INSTALL IN TRENCH Sub-Total | [7 empty] | 0 | 0 | 0 |  |  | 0 |  | 0
| ITEM #L-108-5.4 |  |  | #6 AWG, BARE COUNTERPOISE WIRE
41 | E2.0 | E4.0 |  | #6 AWG, Bare Counterpoise Wire Note: Quantity per bid form is 100 LF. Whereas, our quantity is 121 LF. Please verify in field | 120.67 | 10% | 132.737 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  |  | BARE COUNTERPOISE WIRE Sub-Total | [7 empty] | 0 | 0 | 0 |  |  | 0 |  | 0
| ITEM #L-110-5.1 |  |  | ELECTRICAL CONDUIT 1 WAY 4
42 | E2.0 | E4.0 |  | Electrical Conduit I way 4 | 40 | 10% | 44 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Note: This quantity is not found on the plans and quantity given in the bid form is used. Please verify in field
|  |  |  | ELECTRICAL CONDUIT 1 WAY 4 Sub-Total | [7 empty] | 0 | 0 | 0 |  |  | 0 |  | 0
| ITEM #L-115-5.1 |  |  | ELECTRICAL HANDHOLE
43 | E2.0 | E4.0 |  | Electrical Handhole 4'x4' (Aircraft Rated In pavement) | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  |  | ELECTRICAL HANDHOLE Sub-Total | [7 empty] | 0 | 0 | 0 |  |  | 0 |  | 0
| ITEM #L-125-5.1 |  |  | TAXIWAY LIGHT
44 | E2.0 | E4.0 |  | Re-install Existing L-861-T Stake Mounted Taxiway Edge Light | 1 | 0% | 1 | EA | 1000 | 450 | 0 | 1000 | 450 | 0 | 1450 | 1450 |  | 450
45 | E2.0 | E4.0 | For reference only | Concrete Footing | 0.0092593 | 10% | 0.010185 | CY | [9 empty] | 0
46 | E2.0 | E4.0 | For reference only | Excavation | 0.074074 | 10% | 0.081481 | CY | [9 empty] | 0
47 | E2.0 | E4.0 | For reference only | Formwork Footing | 2 | 10% | 2.2 | SFCA | [9 empty] | 0
48 | E2.0 | E4.0 | For reference only | Backfill | 0.064815 | 10% | 0.071296 | SFCA | [9 empty] | 0
|  |  |  | TAXIWAY LIGHT Sub-Total | [7 empty] | 1000 | 450 | 0 |  |  | 1450 |  | 0
| ITEM #TS-129.3.1 |  |  | CONSTRUCTION SAFETY & MAINTENCE OF TRAFFIC
49 | E2.0 | E4.0 |  | Implementation Of Construction Safety Plan And Maintenance Of Traffic. | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  |  | CONSTRUCTION SAFETY & MAINTENCE OF TRAFFIC Sub-Total | [7 empty] | 0 | 0 | 0 |  |  | 0 |  | 0
[12 empty] | TOTAL LABOR | TOTAL MATERIAL | TOTAL SUB CONTRACTOR
[12 empty] | 356131.8842 | 179522.1043 | 0 |  |  |  |  | 0
TOTAL | [15 empty] | 535653.9885 | 535653.9885 | 0
OVERHEAD AND PROFIT | [14 empty] | 35% | 187478.896
LABOR BURDEN | [14 empty] | 10% | 35613.1884
TOTAL BASE BID | [15 empty] | 758746.0729
Exclusions:
Any thing not mentioned above