## ESTIMATE
Sr # | REFERENCE | DESCRIPTION | QUANTITY | WASTE | TOTAL QTY | UNIT | COST/UNIT | MATERIAL TOTAL | LABOR $/UNIT | TOTAL MANHOURS | EFFICIENCY (UNIT/HRs) | LABOR RATE | TOTAL LABOR COST | LABOR + MAT TOTAL COST | L+M UNIT COST
Units Legends; LS=Lump sum, LF=Linear Footage, CY=Cubic Yard, SF=Square Footage, EA=Count/Each
| PROJECT | JOHN S. TOLL PHYSICS BUILDING, UNIVERSITY OF MARYLAND
| ADDRESS | 4150 CAMPUS DRIVE COLLEGE PARK, MD
| 01. GENERAL CONDITIONS | [12 empty] | 0
INDIRECT PROJECT COSTS
1 |  | General Liability Insurance | 0 | 0% | 0 | Mo | 0 | 0 | 0
2 |  | General Conditions (Backoffice Overhead) | 0 | 0% | 0 | Mo | 0 | 0 | 0
DIRECT PROJECT COSTS
3 |  | Bonding Fee (If required) | 1.15 | 0% | 1.15 | %
4 |  | Access Control (Pipe Scaffolding or Boom/Scissor Lifts) | 0 | 0% | 0 | Mo | 0 | 0 | 0
5 |  | Equipment Rental | 0 | 0% | 0 | Mo | 0 | 0 | 0
6 |  | Travel, Tools, Gas | 0 | 0% | 0 | Mo | 0 | 0 | 0
7 |  | Field Office | 0 | 0% | 0 | Mo | 0 | 0 | 0
8 |  | Temp. Facilities | 0 | 0% | 0 | Mo | 0 | 0 | 0
9 |  | Temp. Signage and Protection | 0 | 0% | 0 | Mo | 0 | 0 | 0
10 |  | Temp. Fencing | 0 | 0% | 0 | Mo | 0 | 0 | 0
11 |  | Field Superintendent/Foreman (Full Time) | 0 | 0% | 0 | Mo | 0 | 0 | 0
12 |  | Project Manager (Part Time) | 0 | 0% | 0 | Mo | 0 | 0 | 0
| 02. DEMOLITION OF EXISTING ITEMS | [10 empty] | 0 |  | 0
| E1.01, E1.11, E1.12 | DEMOLITION
13 |  | Disconnect & Remove Existing Exhaust Fan Motor Connection W/ Associated Disconnect Switch, Wiring & Conduit Back to Source | 2 | 0% | 2 | EA | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0
14 |  | Disconnect & Remove Existing Panel board W/ Associated Service Feeder | 2 | 0% | 2 | EA | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0
15 |  | Remove Disconnect Switch | 1 | 0% | 1 | EA | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0
16 |  | Remove Existing Junction Box W/ Associated Wiring & Conduit | 3 | 0% | 3 | EA | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0
17 |  | Remove Existing Light Fixture W/ Associated Wiring & Conduit | 23 | 0% | 23 | EA | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0
18 |  | Remove Existing Receptacle W/ Associated Branch Conductors & Conduits | 11 | 0% | 11 | EA | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0
19 |  | Remove Existing Switch W/ Associated Wiring & Conduit | 5 | 0% | 5 | EA | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0
20 |  | Remove Existing Transformer | 1 | 0% | 1 | EA | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0
21 |  | Remove Existing Wire Trough | 46.9 | 0% | 46.9 | LF | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0
| E1.01, E1.11 | RELOCATION
22 |  | Relocate Existing Light Fixture W/ Associated Wiring & Conduit | 5 | 0% | 5 | EA | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0
23 |  | Relocate Fire Alarm Strobe W/ Associated Wiring & Conduit | 1 | 0% | 1 | EA | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0
| 26. ELECTRICAL | [10 empty] | 60 |  | 0
| E1.01, E1.11 | WIRES & CONDUITS
24 |  | #12 AWG THHN Solid Cu | 1927.04 | 5% | 2023.392 | LF | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
25 |  | #10 AWG THHN Solid Cu | 2249.97 | 5% | 2362.4685 | LF | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
26 |  | #8 AWG THHN Stranded Cu | 58.38 | 5% | 61.299 | LF | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
27 |  | #6 AWG THHN Stranded Cu | 274.47 | 5% | 288.1935 | LF | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
28 |  | #4 AWG THHN Stranded Cu | 22.75 | 5% | 23.8875 | LF | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
29 |  | #3 AWG THHN Stranded Cu | 175.14 | 5% | 183.897 | LF | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
30 |  | #4/0 AWG THHN Stranded Cu | 91 | 5% | 95.55 | LF | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
31 |  | 3/4" Emt Conduit | 1144.6 | 5% | 1201.83 | LF | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
32 |  | 3/4" Conn Ss Stl - Emt | 92 | 0% | 92 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
33 |  | 3/4" Coupling Ss Stl - Emt | 115 | 0% | 115 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
34 |  | 3/4" 1-H Strap - Emt - Steel | 171 | 0% | 171 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
35 |  | #8 To #10 X 7/8 Plas Anchor (3/16) | 229 | 0% | 229 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
36 |  | #10 X 1 P/H Self-Tap Screw | 229 | 0% | 229 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
37 |  | 1" Emt Conduit | 91.49 | 5% | 96.0645 | LF | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
38 |  | 1" Conn Ss Stl - Emt | 8 | 0% | 8 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
39 |  | 1" Coupling Ss Stl - Emt | 10 | 0% | 10 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
40 |  | 1" 1-H Strap - Emt - Steel | 14 | 0% | 14 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
41 |  | #8 To #10 X 7/8 Plas Anchor (3/16) | 19 | 0% | 19 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
42 |  | #10 X 1 P/H Self-Tap Screw | 19 | 0% | 19 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
43 |  | 1-1/4" Emt Conduit | 58.38 | 5% | 61.299 | LF | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
44 |  | 1-1/4" Conn Ss Stl - Emt | 5 | 0% | 5 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
45 |  | 1-1/4" Coupling Ss Stl - Emt | 6 | 0% | 6 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
46 |  | 1-1/4" 1-H Strap - Emt - Steel | 10 | 0% | 10 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
47 |  | #8 To #10 X 7/8 Plas Anchor (3/16) | 13 | 0% | 13 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
48 |  | #10 X 1 P/H Self-Tap Screw | 13 | 0% | 13 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
49 |  | 2-1/2" Emt Conduit | 22.75 | 5% | 23.8875 | LF | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
50 |  | 2-1/2" Conn Ss Stl - Emt | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
51 |  | 2-1/2" Coupling Ss Stl - Emt | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
52 |  | 2-1/2" 1-H Strap - Emt - Steel | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
53 |  | #8 To #10 X 7/8 Plas Anchor (3/16) | 6 | 0% | 6 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
54 |  | #10 X 1 P/H Self-Tap Screw | 6 | 0% | 6 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
| E1.11, E1.12 | RECEPTACLES & DISCONNECT SWITCHES
55 |  | Duplex Receptacle For Weld Fume Extractor, 9 Amp, 115 V | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
56 |  | 60 Amp, 3 Pole, 240 V Fused Disconnect Switch In Nema 3R Enclosure | 5 | 0% | 5 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
57 |  | 100 Amp, 3 Pole, 480 V Fused Disconnect Switch In Nema 4X Enclosure | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
58 |  | 30 Amp, 3 Pole , 480 V Fused Disconnect Switch In Nema 4X Enclosure | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
59 |  | 30 Amp, 3 Pole, 240V Fused Disconnect Switch In Nema 3R Enclosure | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
60 |  | Combination 30 Amp, 3 Pole, 240 V Non-Fused Disconnect Switch & Nema Size 0 Starter W/ HOA Switch In Nema 4X Enclosure | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
61 |  | Fuse (For 14" Miter Saw, Recommended By Eq Mfg.) | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
62 |  | Fuse (For 7" Miter Saw, Recommended By Eq Mfg.) | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
63 |  | Fuse (For Cold Saw, Recommended By Eq Mfg.) | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
64 |  | Fuse (For EDM Drill, Recommended By Eq Mfg.) | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
65 |  | Fuse (For EDM Wire, Recommended By Eq Mfg.) | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
66 |  | Fuse (For Mill W/ CNC, Recommended By Eq Mfg.) | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
67 |  | Fuse (For Water Jet Machine, Recommended By Eq Mfg.) | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
| E1.01, E1.11 | LIGHTING CONTROLS
68 |  | 3-Way Toggle Light Switch, 20 Amp, 120/277 V | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
69 |  | Motorized Switch | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
70 |  | Toggle Light Switch, 20 Amp, 1 Pole, 120/277 V | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
71 |  | WP Toggle Light Switch, 20 Amp, 1 Pole, 120/277 V | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
| E1.01 | LIGHTING FIXTURES | [9 empty] | 60
72 |  | L1, 4' Industrial Vaportite Light Fixture, Mfg; Metalux, #4APVTLD-SL3C, 33W, 277V | 17 | 0% | 17 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
73 |  | L1E, 4' Industrial Vaportite Light Fixture W/ Integral Emergency Battery Pack, Mfg; Metalux, #4APVTLD-SL3C-EL10W, 33W, 277V | 6 | 0% | 6 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
74 |  | X1, LED Exit Light, Mfg; Sure-Lites, #APXH7-RG, 2W, UNV | 8 | 0% | 8 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
75 |  | X2, LED Emergency Battery Pack, Mfg; Sure-Lites, #SEL-35-SF, 2W, UNV | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
| E1.11, E3.02, E3.03 | CIRCUIT BREAKERS
76 |  | 100 Amp, 3 Pole Circuit Breaker | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
77 |  | 20 Amp, 1 Pole Circuit Breaker | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
78 |  | 20 Amp, 2 Pole Circuit Breaker | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
79 |  | 30 Amp, 3 Pole Circuit Breaker | 7 | 0% | 7 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
80 |  | 60 Amp, 3 Pole Circuit Breaker | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
| E3.03 | POWER DISTRIBUTION
81 |  | Panel-2N-0305(120 G4), 225A, 208Y/120V, 3 Phase, 4 Wire + Ground Section 1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
82 |  | Panel-2N-0305(120 G4), 225A, 208Y/120V, 3 Phase, 4 Wire + Ground Section 2 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
83 |  | Panel-2N-0305(120 G4), 225A, 208Y/120V, 3 Phase, 4 Wire + Ground Section 3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
| E1.11 | MISCELLANEOUS
84 |  | Junction Box | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
85 |  | Pull Box | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
86 |  | 8"X8" Wire Trough | 45.07 | 5% | 47.3235 | LF | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
| 28. ELECTRONIC SAFETY & SECURITY | [10 empty] | 60 |  | 0
| E1.11 | WIRES & CONDUITS
87 |  | 2#14 FPLP | 191.47 | 5% | 201.0435 | LF | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
88 |  | 3/4" Emt Conduit W/ Pull String | 100 | 5% | 105 | LF | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
| E1.11 | FIRE ALARM DEVICES
89 |  | 110cd Fire Alarm Speaker/Strobe | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
90 |  | 15cd Fire Alarm Speaker/Strobe | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
91 |  | 15cd Fire Alarm Strobe | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
92 |  | 30cd Fire Alarm Speaker/Strobe | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
93 |  | 75cd Fire Alarm Speaker/Strobe | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
94 |  | 75cd Fire Alarm Strobe | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
95 |  | 75cd WP Fire Alarm Speaker/Strobe | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
96 |  | Rescue Phone | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | #DIV/0! | 60 | 0 | 0 | 0
NOTES FOR CLIENTS | [9 empty] | SUBTOTAL |  |  |  |  | 0
THIS EXCEL STATEMENT IS EDITABLE AND CAN BE MODIFIED AS NEEDED.
GENERAL CONDITIONS
[10 empty] | OVERHEAD |  |  | 10% |  | 0
[10 empty] | PROFIT |  |  | 15% |  | 0
[10 empty] | INSURANCE |  |  | 0% |  | 0
[10 empty] | CONTINGENCY |  |  | 1% |  | 0
0