## Start Here
Building Capital Renewal Planner
A 10-year plan for replacing your building's major components
Boald Construction Management Ltd. · (780) 497-0099 · www.boald.ca
Why plan capital renewal?
Roofs, windows, HVAC units and paving wear out on a predictable schedule. Planning for them lets you
budget ahead, avoid emergency repairs, and replace components before they cause damage elsewhere.
How to use this workbook
1. Settings — enter your building name, the first year of your plan, and an annual cost escalation rate.
2. Components — for each component, enter the quantity, unit cost (in today's dollars) and the year it
was installed or last replaced. Adjust the typical service life to suit its actual condition.
3. 10-Year Plan — calculates when each component is due and what it will cost, year by year.
Enter your current reserve balance and planned annual contribution in Settings to test your funding.
4. Service Life Guide — typical service lives to help fill in the Components sheet.
Colour legend
Light yellow cells with blue text are inputs — type your own values there.
Black text cells are formulas — leave them as they are.
Row 1 of Components holds example values (marked in Notes) — replace them with your own.
Good to know
Typical service lives are general rules of thumb. Actual life depends on quality, exposure and maintenance.
Get current pricing for your building before relying on any figure. Costs here exclude GST and design fees.
Review the plan every year, and after any major repair or condition assessment.
Need help?
Boald prices and delivers roof, envelope, mechanical and interior renewals across the Edmonton region.
We can walk your building and help fill in this plan with real quantities and current costs.
Andrew Thomsen · (780) 497-0099 · andrew@boaldconstruction.com · www.boald.ca
© 2026 Boald Construction Management Ltd. A planning tool only — not a reserve fund study or professional condition assessment.

## Settings
Settings
Enter your building details and planning assumptions
Boald Construction Management Ltd. · (780) 497-0099 · www.boald.ca
Item | Your value
Building name | Example Building
Address
First year of plan | 2027
Annual cost escalation | 3%
Current reserve balance ($) | 0
Planned annual contribution ($) | 0
Prepared by
Date prepared
Escalation of 3% is a placeholder assumption. Use your own rate, or ask your cost consultant.
Note on D10: Year the 10-year plan starts. Components already past their service life are scheduled in this year.

## Components
Components
List each major component, its cost today and when it was installed
Boald Construction Management Ltd. · (780) 497-0099 · www.boald.ca
# | Category | Component | Quantity | Unit | Unit cost ($, today) | Replacement cost ($, today) | Year installed / last replaced | Service life (years) | Next replacement year | Years remaining | Condition | Notes
1 | Roofing | Low-slope roof membrane (SBS modified bitumen) | 10000 | sq ft | 18 | 180000 | 2004 | 25 | 2029 | 2 | Fair | Example values — replace with your own
2 | Roofing | Metal roof panels |  | sq ft |  | 0 |  | 40
3 | Roofing | Roof flashings and parapet caps |  | lin ft |  | 0 |  | 25
4 | Envelope | Exterior sealants (windows and joints) |  | lin ft |  | 0 |  | 15
5 | Envelope | EIFS / stucco cladding renewal |  | sq ft |  | 0 |  | 30
6 | Envelope | Windows and storefront |  | sq ft |  | 0 |  | 30
7 | Envelope | Exterior doors and hardware |  | each |  | 0 |  | 25
8 | Envelope | Overhead doors |  | each |  | 0 |  | 20
9 | Mechanical | Rooftop HVAC units |  | each |  | 0 |  | 18
10 | Mechanical | Boiler |  | each |  | 0 |  | 25
11 | Mechanical | Domestic hot water heater |  | each |  | 0 |  | 12
12 | Mechanical | Elevator pit sump pump |  | each |  | 0 |  | 10
13 | Electrical | Fire alarm control panel |  | each |  | 0 |  | 20
14 | Electrical | Lighting (LED) |  | lot |  | 0 |  | 15
15 | Electrical | Emergency lighting batteries |  | lot |  | 0 |  | 5
16 | Elevator | Elevator modernization (controller and machine) |  | each |  | 0 |  | 25
17 | Site | Asphalt paving overlay |  | sq ft |  | 0 |  | 20
18 | Site | Asphalt crack seal and sealcoat |  | sq ft |  | 0 |  | 5
19 | Site | Concrete sidewalks and curbs |  | sq ft |  | 0 |  | 30
20 | Interiors | Interior paint |  | sq ft |  | 0 |  | 10
21 | Interiors | Carpet |  | sq ft |  | 0 |  | 12
22 | Interiors | Resilient flooring |  | sq ft |  | 0 |  | 20
23 | [5 empty] | 0
24 | [5 empty] | 0
25 | [5 empty] | 0
26 | [5 empty] | 0
27 | [5 empty] | 0
28 | [5 empty] | 0
29 | [5 empty] | 0
30 | [5 empty] | 0
|  | Total replacement value (today's dollars) |  |  |  | 180000
Rows with no installed year or service life are left out of the plan. Add your own components in the blank rows.

## 10-Year Plan
10-Year Plan
Replacement costs by year, escalated from today's dollars
Boald Construction Management Ltd. · (780) 497-0099 · www.boald.ca
# | Category | Component | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 10-year total
1 | Roofing | Low-slope roof membrane (SBS modified bitumen) | 0 | 0 | 190962 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 190962
2 | Roofing | Metal roof panels | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Roofing | Roof flashings and parapet caps | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Envelope | Exterior sealants (windows and joints) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | Envelope | EIFS / stucco cladding renewal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | Envelope | Windows and storefront | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | Envelope | Exterior doors and hardware | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | Envelope | Overhead doors | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | Mechanical | Rooftop HVAC units | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | Mechanical | Boiler | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Mechanical | Domestic hot water heater | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | Mechanical | Elevator pit sump pump | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | Electrical | Fire alarm control panel | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | Electrical | Lighting (LED) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | Electrical | Emergency lighting batteries | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | Elevator | Elevator modernization (controller and machine) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | Site | Asphalt paving overlay | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | Site | Asphalt crack seal and sealcoat | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | Site | Concrete sidewalks and curbs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | Interiors | Interior paint | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | Interiors | Carpet | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | Interiors | Resilient flooring | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total renewal spending | 0 | 0 | 190962 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 190962
|  | Planned contribution | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Reserve balance, start of year | 0 | 0 | 0 | -190962 | -190962 | -190962 | -190962 | -190962 | -190962 | -190962
|  | Reserve balance, end of year | 0 | 0 | -190962 | -190962 | -190962 | -190962 | -190962 | -190962 | -190962 | -190962
|  | Cumulative spending | 0 | 0 | 190962 | 190962 | 190962 | 190962 | 190962 | 190962 | 190962 | 190962
|  | Average annual contribution needed to fund 10 years of renewals (before interest) | [10 empty] | 19096.2
Red end-of-year balances mean planned contributions don't cover the work due. Costs are escalated from the plan's first year.

## Service Life Guide
Service Life Guide
Typical service lives — general rules of thumb
Boald Construction Management Ltd. · (780) 497-0099 · www.boald.ca
Category | Component | Typical life (years) | What shortens it
Roofing | Low-slope membrane (SBS modified bitumen) | 20–30 | Ponding water, foot traffic, poor flashing details
Roofing | Single-ply membrane (EPDM, TPO) | 20–30 | UV exposure, punctures, seam failures
Roofing | Metal roof panels | 40+ | Fastener corrosion, damaged coatings
Envelope | Exterior sealants | 10–20 | UV, joint movement, poor surface prep
Envelope | EIFS / stucco | 25–35 | Water behind cladding, impact damage, failed sealant
Envelope | Windows and storefront | 25–40 | Failed seals, poor drainage, thermal cycling
Envelope | Overhead doors | 15–25 | Impact damage, heavy cycling
Mechanical | Rooftop HVAC units | 15–20 | Poor maintenance, oversizing, harsh winters
Mechanical | Boilers | 20–30 | Water treatment, cycling
Mechanical | Domestic hot water heaters | 10–15 | Hard water, no anode maintenance
Mechanical | Sump pumps | 7–12 | Debris, frequent cycling, no testing
Electrical | Fire alarm control panels | 15–20 | Parts obsolescence
Electrical | LED lighting | 15–20 | Heat, driver failures
Elevator | Elevator controller and machine | 20–30 | Parts obsolescence, heavy use
Site | Asphalt paving | 15–25 | Poor drainage, no crack sealing, heavy trucks
Site | Concrete sidewalks | 25–40 | De-icing salts, freeze-thaw, settlement
Interiors | Interior paint | 7–12 | High traffic, cleaning
Interiors | Carpet | 10–15 | Traffic, spills, rolling loads
Interiors | Resilient flooring | 15–25 | Moisture from slab, heavy loads
General rules of thumb only. Actual life depends on product quality, installation, exposure and maintenance. Confirm with a condition assessment.